## AB
Waterworks | THM (MAC is 0.1 mg/L) | Free Chlorine (No guideline, Free chlorine concentrations in most Canadian drinking water distribution system range from 0.04 to 2.0 mg/L); Minimum Allowable Limit 0.1 mg/L | Total Chlorine (No Canadian guideline); Minimum Allowable Limit 0.5 mg/L | Iron (AO: ≤ 0.3 mg/L) | Manganese (AO: ≤ 0.05 mg/L) | Total Dissolved Solids (TDS) (Maximum values of 500 mg/L)
Alcomdale Waterworks System |  | 0.91 mg/L January 31, 2018
Alliance Waterworks System |  |  |  | 0 mg/L January 31, 2018 | 0.009 mg/L January 31, 2018
Amisk Waterworks System |  |  |  | 0.02 ug/g January 31, 2018 | 0.031 mg/L January 31, 2018
Barrhead Regional Waterworks System |  | 0.72 mg/L January 31, 2018
Bawlf Waterworks System |  |  |  | 0 ug/g January 31, 2018 | 0.003 mg/L January 31, 2018
Bellevue Crosnest Pass Waterworks System |  | 0.37 mg/L January 31, 2018
Berwyn Waterworks System |  | 0.64 mg/L January 31, 2018
Blackie Waterworks System |  |  |  | 0.02 mg/L January 31, 2018 | 0.036 mg/L January 31, 2018
Blazer (Bearspaw Meadows Est li) Waterworks System |  | 1.13 mg/L January 31, 2018
Bonnyville Waterworks System |  | 0.31 mg/L January 31, 2018
Brule Waterworks System |  | 0.91 mg/L January 31, 2018
Cadomin Waterworks System |  | 1 mg/L January 31, 2018
Calaway Park Waterworks System |  | 1.28 mg/L January 31, 2018
Calgary Waterworks System |  | 0.76 mg/L January 31, 2018
Calling Lake Waterworks System |  | 1.2 mg/L January 31, 2018
Caroline Waterworks System |  |  |  | 0 mg/L January 31, 2018 | 0.004 mg/L January 31, 2018
Centennial Centre For Mental Health And Brain Injury Waterworks System |  |  |  | 0.006 ug/g January 31, 2018 | 0.018 mg/L January 31, 2018
Chauvin Waterworks System |  | 1.4 mg/L January 31, 2018 |  | 0.01 mg/L January 31, 2018 | 0.019 mg/L January 31, 2018
Conklin Waterworks System - New Wtp |  | 1.34 mg/L January 31, 2018
Cottonwood Estates Waterworks System |  | 1.4 mg/L January 31, 2018
Daysland Waterworks System |  |  |  | 0.02 mg/L January 31, 2018 | 0.007 mg/L January 31, 2018
Deerhaven Estates Subdivision Waterworks System & Electronic Reporting |  |  |  | 0.02 mg/L January 30, 2018 | 0.02 mg/L January 30, 2018
Delburne Waterworks System & Electronic Reporting |  |  |  | 0.04 ug/g January 31, 2018 | 0.036 mg/L January 31, 2018
Derwent Waterworks System |  | 1.1 mg/L January 31, 2018
Devon Waterworks System |  | 0.93 mg/L January 31, 2018
Dixonville Waterworks System |  |  |  | 0.03 mg/L January 31, 2018 | 0.033 mg/L January 31, 2018
Drayton Valley Waterworks System |  | 1.584 mg/L January 31, 2018
Drumheller Waterworks System |  | 0.7 mg/L January 31, 2018
Eckville Waterworks System |  |  |  | 0.015 mg/L January 31, 2018 | 0.019 mg/L January 31, 2018
Edmonton Waterworks System | 10 ug/L January 8, 2018
Elbow River Estates Subdivision Waterworks System |  |  |  | 0.04 mg/L January 31, 2018
Emerald Bay Subdivision Waterworks System |  | 1.54 mg/L January 31, 2018
Evan Thomas Valley Waterworks System |  | 0.8 mg/L January 31, 2018
Evasburg Waterworks System |  |  |  | 0 mg/L January 31, 2018 | 0.013 mg/L January 31, 2018
Fairview Waterworks System |  | 1.32 mg/L January 31, 2018
Forestburg Waterworks System |  | 1.03 mg/L January 31, 2018 |  | 0.02 mg/L January 31, 2018 | 0.008 mg/L January 31, 2018
Fort Assiniboine Waterworks System |  |  |  | 0 ug/g January 31, 2018
Fort Chipewyan Waterworks System |  | 1.23 mg/L January 31, 2018
Fort Mckay Waterworks System |  | 0.93 mg/L February 28, 2018
Fox Creek Waterworks System |  |  |  | 0.02 mg/L February 28, 2018 | 0.046 mg/L February 28, 2018
Galahad Waterworks System |  | 0.8 mg/L January 31, 2018 |  | 0.01 mg/L January 31, 2018 | 0.012 mg/L January 31, 2018
Glencoe Golf & Country Club Waterworks System |  | 1.24 mg/L January 31, 2018
Glenwood Waterworks System |  |  |  | 0.03 mg/L February 27, 2018 | 0.02 mg/L February 27, 2018
Grandview Heights Waterworks System |  |  |  | 0.04 mg/L February 28, 2018 | 0.006 mg/L February 28, 2018
Hardisty Waterworks System |  |  |  | 0 mg/L February 28, 2018 | 0.008 mg/L February 28, 2018
Huxley Waterworks System |  |  | 1.48 mg/L February 28, 2018
Janvier Waterworks System |  | 0.84 mg/L February 28, 2018 |  | 0.01 mg/L February 28, 2018 | 0.012 mg/L February 28, 2018
Jarvie Waterworks System |  |  |  | 0.02 ug/g February 28, 2018 | 0.04 mg/L February 28, 2018
Langdon Crossings Waterworks System |  |  |  | 0.02 mg/L February 28, 2018 | 0.042 mg/L February 28, 2018
Longview Waterworks System |  | 1.4 mg/L February 28, 2018
Lougheed Waterworks System |  |  |  | 0.05 mg/L February 28, 2018 | 0.012 mg/L February 28, 2018
Marlboro Waterworks System |  |  |  | 0.04 mg/L February 28, 2018 | 0.02 mg/L February 28, 2018
Mayerthorpe Waterworks System |  | 0.62 mg/L February 28, 2018 |  | 0.02 mg/L February 28, 2018 | 0.02 mg/L February 28, 2018
Metiskow Waterworks System |  |  |  | 0 mg/L February 28, 2018
Milk River Waterworks System |  | 1.2 mg/L February 28, 2018
Onoway Waterworks System |  |  |  | 0.07 mg/L December 14, 2017 | 0.019 mg/L December 14, 2017
Peace River Waterworks System |  | 1.33 mg/L February 28, 2018
Pibroch Waterworks System |  |  |  | 0.07 ug/g February 28, 2018 | 0.005 mg/L February 28, 2018
Provost Waterworks System |  |  | 0.91 mg/L February 28, 2018 | 0.01 mg/L February 28, 2018 | 0.019 mg/L February 28, 2018
Raymond Waterworks System |  | 1.2 mg/L February 28, 2018
Rocky Rapids Waterworks System |  |  |  | 0.02 mg/L February 28, 2018 | 0.02 mg/L February 28, 2018
Rocky View Water Co-Op Waterworks System |  | 1.099 mg/L December 31, 2017
Sedgewick Waterworks System |  |  |  | 0 mg/L February 28. 2018 | 0 mg/L February 28, 2018
Shaw’s Point Lakeside Resort Waterworks System |  | 1 mg/L September 19, 2017
Sheerness Generating Station Waterworks System |  | 1.82 mg/L February 28, 2018
Spruce View Waterworks System |  |  |  | 0.04 mg/L February 28. 2018 | 0.02 mg/L February 28. 2018
Statoil Leismer Lodge Waterworks System |  | 0.67 mg/L February 28, 2018
Strome Waterworks System |  |  |  | 0.01 mg/L February 28, 2018 | 0.003 mg/L February 28, 2018
Taber Waterworks System |  | 1.28 mg/L February 28, 2018
The Estates On Waters Edge Waterworks System |  |  |  | 0 mg/L February 28, 2018 | 0 mg/L February 28, 2018
Trochu Waterworks System |  |  | 1.12 mg/L February 28, 2018
Turner Valley Waterworks System |  | 0.94 mg/L February 28, 2018
Twelve Mile Coulee Waterworks System |  | 1.67 mg/L January 31, 2018
Valleyview Waterworks System |  | 1.39 mg/L February 28, 2018
Wembley Waterworks System |  |  |  | 0.05 mg/L February 28, 2018 | 0.014 mg/L February 28, 2018 | 24.55 mg/L February 23, 2018
Westlock Waterworks System |  | 1.2 mg/L February 28, 2018
Wetaskiwin Waterworks System |  | 1.83 mg/L January 31, 2018
Whitecourt Waterworks System |  | 1.2 mg/L February 28, 2018
Wildwood Waterworks System |  |  |  | 0.02 mg/L February 28, 2018 | 0.021 mg/L February 28, 2018
Wimborne Waterworks System |  |  | 0.96 mg/L February 28, 2018
Winfield Waterworks System |  | 1.25 mg/L February 28, 2018
Wintergreen Woods Waterworks System |  | 0.92 mg/L February 28, 2018