## VIHA
Facility Name | Location | Start Date | Type | Underlying Problems | Steps Taken to Remedy | Corrective Actions Remaining
1785 Alberni Highway Wws | Port Alberni | 2016-01-15 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | Only notification at this time | To be determined upon inspection
423 Whaletown Road | Cortes Island | 2021-09-13 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
April Point Developments South End Water | Strathcona Regional District | 2017-06-09 | Boil Water Notice | Unapproved source; Other - Unapproved source, Not permitted under Drinking Water Protection Act, Ownership management unclear, Not maintaining monitoring, Bacteriological counts, Issues with boron and arsenic | 2 homes on system not using water for potable purposes. Need t omake application for source approval. Need to make application for construction approval to upgrade treatment for pathogens, boron and arsenic. Need to maintain routine monitoring requirments. | N/A
April Point Resort And Marina | Discovery Islands-Mainland Inlets | 2020-07-07 | Water Quality Advisory | Chemical and/or physical water quality parameters in excess of GCDWQ | Operating under Water Quality Advisory, making construction permit application with PHE. Limited operations during Covid-19 Summer 2020. | To be determined upon inspection
Camp Creina | Duncan | 2020-05-12 | Water Quality Advisory | Chemical and/or physical water quality parameters in excess of GCDWQ | Only notification at this time | To be determined upon inspection
Camp Lake Water System | Campbell River | 2010-06-07 | Boil Water Notice | No disinfection or inadequate disinfection or disinfection residuals, Unapproved source. Other: No operating permit, no monitoring, no trained operator designated, no official management structure, no emergency response plan. | Nominal | Work with Drinking Water Officer and come into compliance with the Drinking Water Protection Act as a potable water supply system, or disconnect homes and meet exemptions in DWPA.
China Creek Marina | Port Alberni | 2021-08-16 | Boil Water Notice | Distribution system integrity failure,Water treatment equipment failure | Only notification at this time | To be determined
Coastal Black Water | Puntledge-BlackCreek | 2017-11-03 | Boil Water Notice | Significant deterioration in source water quality, Other | Implementation of Emergency Response Plan and use of treated water storage in the interim. Consultation with Operator to investigate and for well disinfection and re-sampling procedures. Water Operator to post Warning Signs | Notification removal will be a function of confirming negative re-sampling results and a satisfactory system review by the District EHO.
Coastal Springs Float Lodge | RDMW Electoral Area A | 2018-07-10 | Boil Water Notice | No disinfection or inadequate disinfection or disinfection residuals | Small water system surface water treatment objectives (SWTO) implementation initiated January 10, 2018 and introductory meeting took place on June 29, 2018 during initial inspection. Introductory meeting letter to be sent which will outline timeline for compliance with key steps in the SWTO process.
Cottonwood Golf Club | Cassidy | 2019-07-12 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | BWN in effect. Follow ERP and provide boiled or bottled water for restaurant and all potable taps. BWN not to be rescinded until 2 negative samples collected at least 23 hours appart. Check disinfection system for malfunction. | To be determined
Cowichan River Provincial Park | Duncan | 2019-04-18 | Boil Water Notice | Significant deterioration in source water quality, Unacceptable turbidity | Stoltz Pool Campground: 1. Post boil water signage 2. Provide long term strategy with mutually agreeable time-lines toward meeting GWTO as well is determined to be GARP. Stoltz Pool Group Site: 1. Post boil water signage. 2. Provide long term strategy with mutually agreeable time-lines toward meeting GWTO as well is determined to be GARP. Horseshoe Bend: 1. Post boil water signage. 2. Provide long term strategy with mutually agreeable time-lines toward meeting GWTO as well is determined to be GARP. 3. Post signage to notify users of elevated Sodium. | Stoltz Pool Campground: 1. Install treatment to meet GWTO 2. Apply for construction permit (waiver) prior to commencing any construction Stoltz Pool Group Site: 1. Install treatment to meet GWTO 2. Apply for construction permit (waiver) prior to commencing any construction. Horseshoe Bend: 1. Install treatment to meet GWTO 2. Apply for construction permit (waiver) prior to commencing any construction.
Ernst & Elsie Farmworks | Salt Spring Island | 2021-01-07 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Estuary House & Qualicum Beach Rv Park | Qualicum Beach | 2019-07-05 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | Boil Water Notice being issued to users, operator will provide details door-to-door. - Well pump changed last month, verifying proper disinfection/flushing conducted. | Possible superchlorination to be conducted pending information from well pump installer. - Resample on Monday July 8, 2019 and secondary sample before Boil Water Notice can be lifted.
Euphoric Juicery | Duncan | 2017-11-01 | Boil Water Notice | Consistent and ongoing total coliform presence | Boil water notice issued. Food facility operator will follow the instructions provided regarding the operation of a food facility while on a boil water notice. | Submission of chemical analysis of raw water, completion of Source Approval, and installation of required treatment/disinfection
Fernhill Centre | Mayne Island | 2021-08-10 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Fish And Duck Pub Water | Port Alberni | 2020-07-31 | Boil Water Notice | Water treatment equipment failure | Have fail safe alarm system installed for equipment malfunction - resample August 4, 2020 | To be determined
Fish & Duck Pub, Water | Port Alberni | 2020-07-31 | Boil Water Notice | Water treatment equipment failure | Have fail safe alarm system installed for equipment malfunction - resample August 4, 2021 | To be determined
Forbes Landing Water System | Campbell River | 2008-02-15 | Boil Water Notice | No disinfection or inadequate disinfection or disinfection residuals, Water does not meet the prescribed standard under the DWPR, Schedule A | Owner has been required to contract engineering firm to design water treatment and disinfection facility. | Owner must apply for a permit to construct to add appropriate treatment works. Owner must construct and commission treatment works.
H'Kusam Rv Park | Sayward | 2018-07-17 | Boil Water Notice | Other - repeated positive total coliform testing >10 CFU/100ml | Operator has serviced the UV but the counts are persisting. Well and distribution system is to be disinfected with chlorine. | Disinfect well and distribution system
Hague Lake Water System | Cortes Island | 2011-08-04 | Boil Water Notice | Water Quality does not meet Canadian Drinking Water Standards | Follow up: May 31, 2013: Site inspection and meeting with 6 respresentative water systemowners conducted. Directed owners to provide a time bound development plan by Aug 1, 2013 that will have a potable water supply systemin compliance with tht DWA June 16/13: Notified by 2 of the water supply system owners that have been acting as representatives for the water systemowners that they are quiting as representatives, and will be looking to disconnect from the water system. Plan to drill their own wells. | Outstanding - Aug 1, 2013: Water systemowners should be providing our office a proposed time bound development plan.
Heron Guest House | Quadra Island | 2015-11-09 | Boil Water Notice | Significant deterioration in source water quality, No disinfection or inadequate disinfection or disinfection residuals, Unapproved source, Unpermitted water system. Risk associated with unknown contaminant potential | Consultation with Operator to investigate and review well disinfection and re-sampling procedures. | Notification removal will be a function of confirming negative re-sampling results and a satisfactory system review by the District EHO.
Interfor Chamiss Bay Logging Camp Water System | Kyuquot/Nootka-Sayward | 2019-06-13 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | 13/06/19: Dr. Enns, Medical Health Officer notified by BV Labs that 6 of 8 samples were positive for E.coli. Dr. Enns spoke with Devin Sullivan from Interfor to implement a BWN and give direction that an alternate safe supply of drinking water must be provided (e.g., bottled water) and signs to inform users must be posted at all points where drinking water can be obtained. 13/06/19: Spoke with Greg Honeysett, operator of the Interfor Chamiss Bay water supply system to discuss the situation and possible causes, and gave direction for corrective actions. Mr. Honeysett noted that there has been an on-going issue of low water pressure in the camp and that camp users feel the issue is occurring after the treatment & disinfection system (i.e., within the camp itself and not from the source). That is, the holding tank in the treatment room is filling up normally, but there's low pressure in the camp. As such, the raw water by-pass may have been opened in order to improve water pressure in the camp. To correct this, I recommended the function of the pressure tank in the treatment room be checked. An email with additional corrective actions was sent to Mr. Honeysett in followed up to my conversation with him. 14/06/19: Spoke with Greg Honeysett, operator of the Interfor Chamiss Bay water supply system to discuss the situation and possible causes, and gave direction for corrective actions. Mr. Honeysett noted that there has been an on-going issue of low water pressure in the camp and that camp users feel the issue is occurring after the treatment & disinfection system (i.e., within the camp itself and not from the source). That is, the holding tank in the treatment room is filling up normally, but there's low pressure in the camp. As such, the raw water by-pass may have been opened in order to improve water pressure in the camp. To correct this, I recommended the function of the pressure tank in the treatment room be checked. An email with additional corrective actions was sent to Mr. Honeysett in followed up to my conversation with him. | N/A
Linnaea Farm | Cortes Island | 2015-08-10 | Boil Water Notice | Significant deterioration in source water quality. Other: E.Coli presence in most recent water quality test result tested August 7, 2015. | Implementation of Emergency Response Plan (updated Plan required in February 4, 2015 Inspection Report)., Consultation with Operator to investigate and for well disinfection and re-sampling procedures., Facility Manager to post Boil Water Signs (copy enclosed). | Notification removal will be a functionof confirming negative re-sampling results and a satisfactory system review by the District Environmental Health Officer.
Lyall Harbour/Boot Cove Water System | Saturna Island | 2021-10-09 | Boil Water Notice | Excessive turbidity compromising treatment and water quality | Only notification at this time | To be determined
Macks Boondock Ranch | Qualicum Beach | 2020-07-24 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Myra Falls Operations Water System | Oyster Bay-Buttle Lake | 2021-03-24 | Boil Water Notice | Distribution system integrity failure | Note: this boil water notice applies to one part of the distribution system only (the buildings that are supplied from the HW Fresh Water Tank). The only buildings affected by this boil water notice are: the HW Building Complex and the Warehouse. | To be determined
Paradise Cove Water System | Lake Cowichan | 2020-09-29 | Boil Water Notice | Unapproved water supply or construction works | Other-Actions have been taken to prevent or discontinue drinking water hazard(s) (provide description below) Corrective Actions Remaining: - provide guests direction on how to use water safely during a BWN - submit all required application documents (which have been requested in several emails) to this office toward the permitting of the water supply system - commence routine microbiological sampling in accordance with a program acceptable to the DWO | To be determined
Pender Island Public Library | Pender Island | 2022-02-04 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Petes Lake Water Users Society Wws | Lasqueti Island | 1994-04-21 | Boil Water Notice | No disinfection or inadequate disinfection or disinfection residuals | Water supplier is developing appropriate water treatment and disinfectionas required in the operating permit terms and conditions and as per the water supplier's implementation plan approved by the DWO. | Adhere to implementation plan deadlines, increase source water sampling to assist in determining treatment options.
Port Renfrew Water Systems | Juan de Fuca | 2021-11-15 | Boil Water Notice | N/A | Only notification at this time | To be determined
Puntledge Townsite Water Users Community | Courtenay | 1996-08-23 | Boil Water Notice | Water Quality does not meet Canadian Drinking Water Standards | N/A | N/A
Riverside Resort Wws | Qualicum Beach | 2019-09-19 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | Only notification at this time. (Further DWO direction to be provided). | Shock chlorination of the well. 2 consecutuve negative bacteriological samples. To be determined upon inspection.
Seascape Resort & Marina | Quadra Island | 2019-09-25 | Boil Water Notice | Inadequate water testing frequency. Bacterial presence in most recent sample submission. No trained Operator. | Compliance with requirements of February 28, 2019 Inspection Report, Facility Manager to post Notification Warning Signs. | Notification removal will be a function of confirming consecutive negative re-sampling results and a satisfafctory system review by the District EHO.
Seascape Resort & Marina | Quadra Island | 2019-09-25 | Boil Water Notice | Inadequate water testing frequency. Bacterial presence in most recent sample submission. No trained Operator. | Compliance with requirements of February 28, 2019 Inspection Report, Facility Manager to post Notification Warning Signs. | Notification removal will be a function of confirming consecutive negative re-sampling results and a satisfafctory system review by the District EHO.
Shawnaire Resort Water | Shawnigan Lake | 2018-08-30 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A - Presence of E.Coli in finished water. (4) | Only Notification at this time. (Further DWO direction to be provided) | Boil water advisory to remain in effect until the following has taken place: - System is assessed by an engineering company experienced in water treatment systems - Equipment without NSF certification must be replaced (UV unit and microfilters) - Construction permit application must be submitted to this office for approval - Once system is constructed, submit re-samples for total coliform & ecoli
Sol Sante Club Arts Lot 120 | Cobble Hill | 2019-05-03 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | All three dwellings have been notified. Only notification at this time. (Further DWO direction will be provided). | Site to be re-sampled May 6th and 7th. To be determined upon inspection.
Sollans Road Pump | Baynes Sound-Denman/Hornby Islands | 2005-01-21 | Boil Water Notice | Water Quality does not meet Canadian Drinking Water Standards | N/A | N/A
South Bay Management Committee | Port Alberni | 2000-10-26 | Boil Water Notice | No disinfection or inadequate disinfection or disinfection residuals | Only notification at this time | To be determined upon inspection
Springwater Lodge | Mayne Island | 2021-11-04 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Sproat Lake Provincial Park | Port Alberni | 2021-08-10 | Boil Water Notice | N/A | Only notification at this time | To be determined
Sungoma Art Centre | Duncan | 2020-09-25 | Boil Water Notice | Insufficient treatment or disinfection residual, Water treatment equipment failure | Initiate BWN, notify users. Have a professional shock chlorinate distribution system and equipment, submit microbiological resamples for sites with adverse results, ensure 0.2 ppm. | To be determined
Surf Water System | Nanaimo | 2021-10-20 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Review system from source to tap, review disinfection train, well water turbidity, resample multiple distribution sites and raw well H2O. | To be determined
Tiger Lily Farm | Regional District of Nanaimo | 2017-09-01 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | Operator Instructed to issue a Boil Water Notice and to post signage on all faucets within the facility. | Operator advised that permanent disinfection may be required for the 2018/19 operating system.
Town Of Lake Cowichan Water System | Lake Cowichan | 2021-08-12 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Untamed Ink | Qualicum Beach | 2021-09-20 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
West Hill Restaurant Thai Smile Wws | Qualicum Beach | 2019-09-06 | Boil Water Notice | Water does not meet the prescribed standard under the DWPR, Schedule A | Only Notification at this time. (Further DWO direction to be provided) | 1) Sever Shallow well connection. 2) Chlorinate and Flush drinking water system. 3) Re-sample 2x bacteriological samples, 24 hours apart.
Whaletown Water System | Cortes Island | 2021-09-23 | Boil Water Notice | Unacceptable water quality results (Microbiological), Schedule A | Only notification at this time | To be determined
Yak Shack Taku Resort Water System | Discovery Islands-Mainland Inlets | 2021-08-06 | Boil Water Notice | Source water quality deterioration or contamination | The well was disinfected twice during July. Repeat water samples have been collected. On 6 August, the operator was instructed to issue a boil water notice to the water users | To be determined