## AB
Municipality | Type | Since | Active? | Details | Reason
Banff – individual | Boil Water | 2017-11-06 | Yes | Boil Water Order issued to Banff Trail Riders. Issued by Alberta Health Services. | The drinking water supply may be unsafe as indicated by a water sample collected on October 30 showing a Total Coliform count of 8 per 100ml. Another sample taken Nov 2 showed a Total Coliform count of 1 per 100ml.
De Winton – individual | Boil Water | 2017-07-29 | Yes | Boil Water Order issued at 114 Macleod Trail Water Supply of SW 36-21-1-W5M. Plan 1153P Block 1, Lots 13-16. Issued by Alberta Health Services. | Inspections disclosed the water supply’s conditions are now, or may be, dangerous to public health.
Dene Tha-Bushe River First Nation | Boil Water | 2017-07-12 | Yes | Bushe Food & Gas SPWS. Source: Health Canada. | No reason given.
Elbow River | Do Not Consume | 2016-08-26 | Yes | Advisory Extended. Alberta Health Services is advising the public not to swim or wade in the Elbow River at or between the above sites, in full. The public is also advised not to drink this untreated river water, as water-borne organisms, including fecal coliforms, can cause vomiting and diarrhea. Note: The original advisory (issued July 8, 2016) did not include Sandy Beach or Stanley Park (areas upstream of 25 Ave. S.W.). As a precautionary measure, this extended advisory now also applied to both of those areas. Signage has already been posted at these two additional locations, also as a proactive preventative measure. | Elevated levels of fecal coliforms that continue to be detected in the water of Elbow River (within the city of Calgary, between Sandy Beach and 9 Ave. S.E.). Ongoing detection of elevated fecal coliforms in this river corridor, in general. Elevated levels of fecal coliforms are detected via routine testing of the river water. At current levels, skin, ear and eye infections can result from any contact with Elbow River water.
Kapaweeno First Nation- Slave Lake | Boil Water | 2009-09-29 | Yes | Narrows Semi Public Water System. Affects 100 people. Source: Health Canada | No adequate disinfection at treatment.
Kehewin Cree Nation | Boil Water | 2011-04-23 | Yes | Kehewin Public Water System. Affects 0-100 people. Source: Health Canada | No reason given.
Mikisew Cree First Nation | Boil Water | 2018-01-18 | Yes | ACFN Youth & Elder’s Lodge Semi-Public Water System. Source: Health Canada. | No reason given.
Mountain View | Boil Water | 2018-03-16 | Yes | Melvin Hall Society. Issued by Alberta Health Services. | Water supplying the premises may be unsafe for human consumption as indicated by a water sample collected on February 22 that showed the presence of Total Coliform bacteria. A 2nd sample was taken on Feb 28, showing the presence of 43 Total Coliform bacteria per 100 mL.
Mountain View | Boil Water | 2018-03-16 | Yes | Bronco Electric. Issued by Alberta Health Services. | Multiple inspections disclosing that conditions exist in the drinking water supply which are or may become injurious or dangerous to the public health.
Mountain View | Boil Water | 2016-09-01 | Yes | Water Valley General Store. Issued by Alberta Health Services. | Multiple inspections disclosing conditions exist in the drinking water supply which are or may become injurious or dangerous to the public health.
Mountain View | Boil Water | 2016-05-24 | Yes | Mountain View Hall. Issued by Alberta Health Services. | Assessment conducted on the drinking water system that has determined the water source is subject to surface contamination and, therefore, should not be considered potable.
Mountain View | Boil Water | 2015-03-03 | Yes | NE 7-29-5 W5M, Block 1, Lot 1 in Mountain View. Issued by Alberta Health Services. | Multiple inspections disclosing positive Total Coliforms.
Mountain View | Boil Water | 2014-10-15 | Yes | Plan 6619JK, Parcel A in Mountain View. Issued by Alberta Health Services. | Multiple inspections disclosing the presence of positive Total Coliforms.
Rocky View County – individual | Boil Water | 2018-03-14 | Yes | All Seasons Mushrooms | Presence of Total Coliform bacteria in water sample and Escherichia coli bacteria. In addition investigation determined that the septic system clean out pipe was leaking sewage on the ground in close proximity to the potable water cistern.
Rocky View County – individual | Boil Water | 2017-01-04 | Yes | Kerrie Jones Hair and Esthetics | The water supply to this home based business is from a shallow well deemed vulnerable to microbiological contamination due to its depth and construction and is thus not considered potable.
Rocky View County – individual | Boil Water | 2015-07-28 | Yes | Reimer Foster Home | Inspection disclosing conditions about drinking water supply which are or may become injurious or dangers to the public health.
Rocky View County – individual | Boil Water | 2015-04-06 | Yes | Housing premises 274249 Township Road 240 in Rocky View. | Inspection disclosing that conditions exist in water supply which are or may become injurious or dangerous to the public health.
Tsuu Tina First Nation | Boil Water | 2017-07-27 | Yes | Tsuut'ina Rodeo Grounds SPWS. Affects 1001-5000 people. Source: Health Canada. | No reason given.
Tsuu Tina First Nation | Boil Water | 2017-07-07 | Yes | Tsuutina Community Centre SPWS. Source: Health Canada | No reason given.
Wheatland – individual | Boil Water | 2017-10-16 | Yes | Oxbow Country Golf Course. Issued by Alberta Health Services. | The UV water treatment system operating at 53 percent intensity and displaying message that water may be unsafe for drinking. The shut off solenoid valve has been reportedly triggered indicating the disinfection treatment was not operating effectively.
Wheatland – individual | Boil Water | 2017-09-15 | Yes | EagleLake RV Resort. Issued by Alberta Health Services. | Existence of conditions to the water supply making it unfit for human consumption.
Whitefish (Goodfish) Lake First Nation | Boil Water | 2017-09-08 | Yes | Carl Bull’s Mini Mart Semi-Public Water System. Source: Health Canada | No reason given.
Whitefish (Goodfish) Lake First Nation | Boil Water | 2011-05-24 | Yes | Whitefish River Public Water System. Affects 100-500 people. Source: Health Canada | No reason given.
Willow Creek – individual | Boil Water | 2017-09-22 | Yes | Coutts Centre for Western Cdn Heritage in the Municipal District of Willow Creek. Issued by Alberta Health Services. | Water supplying the premises may be unsafe for human consumption as indicated by a water sample collected on September 18 that showed the presence of Total Coliform bacteria. Another sample taken on September 20 showed presence of 201 Total Coliform bacteria per 100mL.