## BC
Municipality | Type | Since | Active? | Details | Reason
100 Mile House | Boil Water | 2017-03-18 | Yes | Boil Water Notice issued to Two with Nature Foods Water System. TCS. Issued by BC Interior Health. | Due to unacceptable water quality results (microbiological).
100 Mile House - individual | Boil Water | 2011-08-09 | Yes | Gateway Apartments. Area: Thompson, Cariboo, Shuswap. | Inadequate Protection of Intake Works
100 Mile House - individual | Boil Water | 2016-10-19 | Yes | 103 Mile Water System. Area: Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological).
100 Mile House – individual | Boil Water | 2002-04-25 | Yes | Spring Lake Ranch. Area: Thompson, Cariboo, Shuswap. | Source water contamination.
70 Mile House | Boil Water | 2017-02-27 | Yes | Graham-Dunden Ranch WS. Thompson, Cariboo, Shuswap Area. | Unacceptable water quality results (microbiological).
70 Mile House | Boil Water | 2004-07-16 | Yes | Watch Lake Lodge - #3. Thompson, Cariboo, Shuswap Area. | Spring Source Water Contamination
Adams Lake | Boil Water | 1994-08-11 | Yes | Adams Lake Estates Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate disinfection/treatment
Adams Lake | Boil Water | 1994-01-08 | Yes | Currie Brook Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection/treatment.
Adams Lake Band | Boil Water | 2009-04-23 | Yes | Doug Arnouse Community Water System. Affects 0-50 people. Source: INAC | No reason given.
Ainsworth - individual | Boil Water | 2009-06-25 | Yes | Jones Boys Marina. Kootenay. | Inadequate Protection of Distribution System
Alexis Creek First Nation | Boil Water | 2017-07-10 | Yes | TLETINQOX-TIN GOVT OFFICE, Anaham Water System, Affects 500-1000 people. Source: First Nations Health Authority (FNHA). | No reason given.
Alexis Creek First Nation | Boil Water | 1999-04-01 | Yes | Michel Gardens Community Water System (CWS). Source: First Nations Health Authority (FNHA). | Significant deterioration in source water quality. Inadequate disinfection or disinfectant residuals. Operation of system would compromise public health.
Allison Lake Provincial Park | Boil Water | 2016-07-06 | Yes | Allison Lake Campground. Okanagan. | Positive Total Coliform lab result.
Anahim Lake | Boil Water | 2010-09-14 | Yes | Anahim Lake Trading WS. Coast Garibaldi. | Non compliance with potable water quality standards.
Anglemont | Boil Water | 2016-08-23 | Yes | Lucerne Waterworks. Area: Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment
Anglemont | Boil Water | 2012-01-03 | Yes | Two Mile Camp. Area: Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment
Armstrong - individual | Boil Water | 2017-09-15 | Yes | Mountain View Improvement District. Okanagan | Unacceptable water quality results (microbiological)
Arrow Park | Boil Water | 1992-04-01 | Yes | Rock Island Resort. Area: Kootenay. | Inadequate Disinfection/Treatment
Ashcroft | Boil Water | 2018-03-20 | Yes | Ashcroft Community Water System. TCS. | Due to excessive turbidity compromising treatment and water quality.
Ashcroft | Boil Water | 2009-02-05 | Yes | Ashcroft Tie Treating Plant Water System. Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment.
Ashcroft | Boil Water | 2007-11-28 | Yes | Saranagati Village Holding Inc. Lot 17 Water System. Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment
Ashcroft | Boil Water | 2006-08-30 | Yes | Pimainus Lake Resort Water. Thompson, Cariboo, Shuswap | Inadequate Disinfection/Treatment
Ashcroft | Boil Water | 1995-01-01 | Yes | Basque Improvement District Water System. Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment
Ashcroft | Boil Water | 1994-09-22 | Yes | Y D Ranch Community Water System. Thompson, Cariboo, Shuswap | Source water contamination
Barriere | Boil Water | 2017-10-18 | Yes | Shuswap Highlands Water System Phase 2-3. Thompson Cariboo Shuswap | Unacceptable water quality results (microbiological).
Barriere | Boil Water | 2009-05-28 | Yes | The Ridge Water System. Water Quality Advisory. Thompson Cariboo Shuswap | Reason: other
Barriere | Boil Water | 2008-10-16 | Yes | The Sands - Water Quality Advisory. Thompson Cariboo Shuswap | Reason: other
Barriere | Boil Water | 2007-06-27 | Yes | Quiet Cove Resort Water System. Thompson Cariboo Shuswap | Inadequate Disinfection/Treatment
Barriere | Boil Water | 2004-04-23 | Yes | Riverland Mobile Home Park Water System. Thompson Cariboo Shuswap | Inadequate Disinfection/Treatment
Baynes Lake | Boil Water | 2010-08-23 | Yes | Baynes Lake Store. Kootenay | Source water contamination
Bella Bella | Boil Water | 2011-03-03 | Yes | Shearwater- Staff Housing. Coast Garibaldi | Insufficient water treatment.
Bella Bella | Boil Water | 2009-05-01 | Yes | Hakai Land & Sea Society WS. Coast Garibaldi | No reason given.
Bella Bella | Boil Water | 2007-07-17 | Yes | Oles Hakai Pass Fishing Lodge WS. Coast Garibaldi | Insufficient water treatment.
Bella Bella | Boil Water | 2007-07-17 | Yes | Dawsons Landing General Store WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Bella | Boil Water | 2007-07-17 | Yes | Black Gold Lodge WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Bella | Boil Water | 2007-07-16 | Yes | Duncanby Lodge & Marina WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Bella | Boil Water | 2007-07-16 | Yes | Rivers Inlet Sportsmans Club. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Bella | Boil Water | 2007-06-12 | Yes | Joes Salmon Lodge. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Bella | Boil Water | 2006-08-01 | Yes | Legacy Lodge WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Bella | Boil Water | 2006-08-01 | Yes | Rivers Lodge WS. Coast Garibaldi | Not meeting conditions of operating permit which may potentially compromise water quality.
Bella Coola | Boil Water | 2007-07-12 | Yes | Hakai Lodge WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Coola | Boil Water | 2004-09-17 | Yes | Tweedsmuir Park - Atnarko Campground WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Coola | Boil Water | 2004-09-17 | Yes | Fisheries Pool Campground WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Coola | Boil Water | 2003-07-11 | Yes | Suntree Guest Cottage WS. Coast Garibaldi | Non compliance with potable water quality standards.
Bella Coola | Boil Water | 2002-12-02 | Yes | Denny Island Water System. Coast Garibaldi | Insufficient water treatment.
Birch Island | Boil Water | 1998-08-31 | Yes | Birch Island Water System. Area: Thompson, Cariboo, Shuswap. | No reason given.
Black Creek – individual | Boil Water | 2018-01-18 | Yes | Watutco Enterprise. VIHA. | Unacceptable turbidity.
Black Creek – individual | Boil Water | 2017-11-03 | Yes | Coastal Black Water. VIHA. | Significant deterioration in source water quality.
Blind Bay - individual | Boil Water | 2014-08-07 | Yes | Eagleview Cottages. TCS | No reason given.
Blue River – individual | Boil Water | 2012-10-19 | Yes | Snowfield Park Water System. Thompson/Cariboo/Shuswap | Construction/Repairs/Maintenance
Bluff Lake | Boil Water | 2015-08-10 | Yes | White Saddle Ranch Country Inn. TCS | No reason given.
Bonaparte Indian Band | Boil Water | 2006-02-09 | Yes | BWA for Morgan Upper Hat Creek Community Water System. Source: First Nations Health Authority (FNHA) | Unacceptable microbiological quality.
Boswell - individual | Boil Water | 2017-08-17 | Yes | Mountain Shores Resort Water System. Kootenays | Distribution system integrity failure.
Boswell - individual | Boil Water | 2016-08-09 | Yes | Bayshore Resort Water System. Kootenays | Positive Total Coliform lab result.
Boswell - individual | Boil Water | 2016-06-08 | Yes | Lewis Bay Water Utility Water System. Kootenays | Positive E. Coli lab result.
Boswell - individual | Boil Water | 2005-08-05 | Yes | Akokli Creek WS. Kootenays | Source water contamination
Brackendale | Boil Water | 2015-08-05 | Yes | Cheekye Ranch Water System No. 1. Coast Garibaldi. | Insufficient water treatment.
Bridesville | Boil Water | 2004-07-27 | Yes | Bridesville Waterworks District. Kootenays | Source water contamination
Bridesville | Boil Water | 2002-03-01 | Yes | Conkle Lake Provincial Park Water System. Kootenays | Source water contamination
Bridge Lake | Boil Water | 2005-07-26 | Yes | Peaceful Cove Fishing Camp. Thompson, Cariboo, Shuswap | Inadequate Disinfection/Treatment
Bridge Lake | Boil Water | 2004-10-01 | Yes | Eagan Lake Resort. Thompson, Cariboo, Shuswap | Source water contamination
Brookmere | Boil Water | 1990-01-01 | Yes | Brookmere Water System, Brookmere BC. Area: Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment.
Bull River | Boil Water | 2015-09-14 | Yes | Bull River Guest Ranch Water System. Kootenay | Source water contamination
Burns Lake - individual | Boil Water | 2017-09-15 | Yes | Beaver Point Resort. NHA | Unsatisfactory test results.
Burns Lake - individual | Boil Water | 2007-09-05 | Yes | Ootsa Lake Community Water Society. NHA | Surface (lake) source water system without disinfection.
Burns Lake - individual | Boil Water | 2006-03-21 | Yes | Decker Lake Forest Products. NHA | Inadequate disinfection.
Burns Lake - individual | Boil Water | 2004-07-30 | Yes | Moosehorn Lodge - Surface source without disinfection. NHA | Unsatisfactory water bacteriology samples.
Burton | Boil Water | 2017-01-12 | Yes | Burton Water Service. Water Quality Advisory. Kootenay | Unacceptable water quality results (microbiological).
Cache Creek | Boil Water | 2008-09-12 | Yes | Hi Hium Lake Fishing Resort Water System. Thompson, Cariboo, Shuswap | Inadequate Disinfection/Treatment
Cache Creek | Boil Water | 2004-07-25 | Yes | Loon Lake Resort Water System, Loon Lake. Thompson, Cariboo, Shuswap | Inadequate Disinfection/Treatment
Campbell River | Boil Water | 2017-04-07 | Yes | Myra Falls Operations. VIHA | Inadequate disinfection or disinfection residuals.
Campbell River | Boil Water | 2008-02-15 | Yes | Forbes Landing WS. VIHA | No reason given.
Canal Flats | Boil Water | 2009-06-04 | Yes | White Swan Lake Provincial Park. Kootenay. Area: Kootenays | Reason: other
Canim Lake | Boil Water | 2009-09-18 | Yes | Ponderosa Resort Motel VIP System and House System. Area: Thompson, Cariboo, Shuswap | Reason: other
Canim Lake | Boil Water | 2003-07-28 | Yes | Reynolds Resort. Area: Thompson, Cariboo, Shuswap | Source water contamination
Canim Lake | Boil Water | 2001-06-28 | Yes | Canim Lake Resort. Area: Thompson, Cariboo, Shuswap | Source water contamination
Canim Lake | Boil Water | 2000-01-01 | Yes | Hannah Springs Water System. Area: Thompson, Cariboo, Shuswap | Inadequate Disinfection/Treatment
Canyon - individual | Boil Water | 2014-04-02 | Yes | Husband Subdivision Water System. Area: Kootenays | Source water contamination
Canyon - individual | Boil Water | 2001-05-01 | Yes | South Canyon Improvement District. Area: Kootenays | Source water contamination
Canyon - individual | Boil Water | 1994-05-01 | Yes | Orde Creek Improvement District. Area: Kootenays | Source water contamination
Castlegar | Boil Water | 2017-04-28 | Yes | Water Quality Advisory issued at Glade Water Improvement Society. Kootenay. Issued by BC Interior Health. | Due to unacceptable water quality results.
Castlegar | Boil Water | 2017-12-05 | Yes | Arrow Lakes Generating Station. Area: Kootenay. | Adverse TC count Lunchroom RO Unit.
Castlegar | Boil Water | 2012-07-26 | Yes | Country Style Bakery Water System. Area: Kootenay | Inadequate Disinfection/Treatment
Castlegar | Boil Water | 1992-04-01 | Yes | Michael Creek Water Users Community. Area: Kootenay | Inadequate Disinfection/Treatment
Castlegar | Boil Water | 1992-04-01 | Yes | Spud Hill Water Users Community. Area: Kootenay | Inadequate Disinfection/Treatment
Castlegar | Boil Water | 1992-04-01 | Yes | Upper Pass Creek Water Users. Area: Kootenay | Inadequate Disinfection/Treatment
Cathedral Provincial Park | Boil Water | 2004-03-01 | Yes | Cathedral Lakes Provincial Campground Water System. | Inadequate Disinfection/Treatment
Cathedral Provincial Park | Boil Water | 2004-02-03 | Yes | Cathedral Lakes Lodge Ltd. Water System. Okanagan | Inadequate Disinfection/Treatment
Cawston | Boil Water | 2018-03-27 | Yes | Boil Water Notice in effect at Willowbrook Water System. Okanagan. | Due to source water quality deterioration or contamination.
Cawston | Boil Water | 2018-01-30 | Yes | Willowbrook Water System Water Quality Advisory. Okanagan. | Unacceptable water quality results (microbiological).
Celista | Boil Water | 2018-03-15 | Yes | Copper Cove Properties Water System. Water Quality Advisory. TCS | Unacceptable water quality results.
Celista | Boil Water | 2017-05-08 | Yes | Celista Utilities. Water Quality Advisory. TCS | Excessive turbidity compromising treatment and water quality.
Chase | Boil Water | 1998-08-13 | Yes | Jade Mountain Covey Spring Water System, Area: Thompson, Cariboo, Shuswap | Inadequate Disinfection/Treatment
Cherryville – individual | Boil Water | 2013-10-11 | Yes | Franks General Store W/S, Area: Okanagan | Inadequate Disinfection/treatment
Cherryville – individual | Boil Water | 2007-06-07 | Yes | Route 6 Campground and Bunkhouse Water System, Area: Okanagan | Inadequate Disinfection/Treatment
Chetwynd – individual | Boil Water | 2009-06-10 | Yes | Lasser Ranches. NHA. | Shallow Spring with no treatment and no bacteriological or chemical history.
Chilko Lake | Boil Water | 2016-09-09 | Yes | Bear Camp, BWN Entire water system affected. Thompson, Cariboo, Shuswap | Unacceptable water quality results (microbiological)
Chilko Lake | Boil Water | 2016-09-09 | Yes | Chilko Lake Resort South and North WS. TCS. | Untreated drinking water at risk of containing pathogens
Chilliwack | Boil Water | 1992-07-08 | Yes | Southbright Water Users, Community WS, Pop. Served: 35. FHA. | No reason given.
Christina Lake – Individual | Boil Water | 2017-05-24 | Yes | Texas Creek Campground, Gladstone Provincial Park. Kootenay. | Unacceptable water quality results (microbiological).
Christina Lake – Individual | Boil Water | 2017-11-29 | Yes | Cascade Par 3 Well. Kootenay. | Unacceptable water quality results (microbiological).
Christina Lake – Individual | Boil Water | 2003-03-01 | Yes | Brewer Waterworks, Kootenay | Inadequate Disinfection/Treatment
Christina Lake – Individual | Boil Water | 1997-04-01 | Yes | Fife Water Users Community, Kootenay | Source water contamination
Clearwater – individual | Boil Water | 2017-07-13 | Yes | Pine Grove Estates, Water Quality Advisory, Thompson Cariboo Shuswap | Insufficient treatment or disinfection residual
Clearwater – individual | Boil Water | 2017-07-06 | Yes | Wells Gray Golf & RV Resort Water System, Water Quality Advisory, Thompson Cariboo Shuswap | Unacceptable water quality results (microbiological)
Clearwater – individual | Boil Water | 2016-07-01 | Yes | Mountain Meadows Mobile Home Park, Water Quality Advisory, Thompson Cariboo Shuswap | Positive Total Coliform lab result
Clearwater – individual | Boil Water | 2010-09-16 | Yes | Nakiska Ranch Water System, Water Quality Advisory, Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 2005-09-29 | Yes | Sunset Village Mobile Home Park, Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 2005-06-17 | Yes | Pumptown Estates, Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 2016-08-12 | Yes | Wells Gray Provincial Park Water System. WQA. | Positive Total Coliform lab result.
Clearwater – individual | Boil Water | 2005-06-17 | Yes | Birch Island Campground Water System, Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 2005-08-06 | Yes | Spahats Creek Provincial Park – Spahats Creek Near Clearwater, Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 2002-01-16 | Yes | Star Lake Campus Water System, Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 1999-11-30 | Yes | Walker Road Water System, Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Clearwater – individual | Boil Water | 1998-05-22 | Yes | Mountainview Trailer Park Water System, Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Comox | Boil Water | 2017-11-20 | Yes | Town of Comox water system | Unacceptable turbidity
Comox – Puntledge Campground | Boil Water | 2017-01-11 | Yes | BWA for Puntledge Campground – Public Water System – Transient, Affects 0-50 people, First Nation Health Authority | No reason given.
Cordero Channel | Boil Water | 2009-06-18 | Yes | Cordero Lodge WS, Vancouver Island Health Authority | Source water contamination. No disinfection or inadequate disinfection or disinfection residuals.
Cortes Island | Boil Water | 2015-08-10 | Yes | Linnaea Farm, Vancouver Island Health Authority | E. Coli presence in most recent water quality test result
Courtenay – individual | Boil Water | 2018-03-06 | Yes | Strata Plan 1306. VIHA. | Replacements of distribution lines.
Courtenay – individual | Boil Water | 1996-08-23 | Yes | Puntledge Townsite Water Users Community, Vancouver Island Health Authority | Water Quality does not meet Canadian Drinking Water Standards
Cowichan Tribes | Boil Water | 2011-06-29 | Yes | BWA for Dougans Lake Community Water System (CWS). Source: First Nations Health Authority | Equipment malfunction during treatment or distribution; inadequate disinfection or disinfectant residuals; unacceptable microbiological quality; operation of the system would compromise public health.
Cranbrook | Boil Water | 2015-11-15 | Yes | El Camino Improvement District, Kootenay | Water Line Break
Cranbrook | Boil Water | 2014-07-07 | Yes | Kikomen Park & Campground Water System, Kootenay | Source water contamination
Crawford Bay | Boil Water | 2017-01-04 | Yes | Crawford Bay RV Park, Water Quality Advisory, Kootenay | Untreated drinking water at risk of containing pathogens
Crawford Bay | Boil Water | 2016-07-26 | Yes | Tipi Camp Water System on Kootenay Lake, Kootenay | Positive Total Coliform lab result
Crescent Valley | Do Not Consume | 2017-05-29 | Yes | Brent Kennedy Elementary School Water System, Kootenay | Untreated drinking water at risk of containing pathogens
Crescent Valley – individual | Boil Water | 2018-02-09 | Yes | Poplar Ridge Water Users Society. Upgraded to Boil Water Advisory from Water Quality Advisory (WQA) 2/9/2018. | Unacceptable water quality results (microbiological).
Crescent Valley – individual | Boil Water | 1992-01-01 | Yes | Krestova Improvement District, Kootenay | Inadequate Disinfection / Treatment
Creston – individual | Boil Water | 2017-10-20 | Yes | Creston Dyking Distribution Water System. | Due to insufficient treatment or disinfection residual.
Creston – individual | Boil Water | 2006-03-01 | Yes | Urmston Creek Water Users, Area: Kootenays | Source Water Contamination
Creston – individual | Boil Water | 2001-09-10 | Yes | Teetzel Creek Water System, Area: Kootenays | Source Water Contamination
Creston – individual | Boil Water | 2000-07-11 | Yes | Alpine Mobile Home Park Water System, Area: Kootenays | Source Water Contamination
Creston – individual | Boil Water | 2000-06-29 | Yes | Bysouth Brook Water System, Area: Kootenays | Source Water Contamination
Creston – individual | Boil Water | 2000-06-06 | Yes | Bountiful Community Water System, Area: Kootenays | Inadequate Disinfection/Treatment
Creston – individual | Boil Water | 1994-05-01 | Yes | Armstrong Bay Water System, Area: Kootenays | Source Water Contamination
Creston – individual | Boil Water | 1994-05-01 | Yes | Nicks Island Improvement District, Area: Kootenays | Source Water Contamination
Dagger Lake | Boil Water | 2010-06-16 | Yes | Skitchine Lodge Water System, Dagger Lake Bonaparte Provincial Park, Thompson/Cariboo/Shuswap | Inadequate Disinfection / Treatment
Darcy | Boil Water | 2005-09-21 | Yes | McGillivray Falls Water System, Area: Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Darcy | Boil Water | 2002-04-10 | Yes | Ponderosa Strata Community – Lower Tank, Middle Tank, Upper Tank, Motel, VIP Community, Area: Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Dease Lake – individual | Boil Water | 2010-07-12 | Yes | Dease River Crossing. NHA. | Untreated surface water source
Destiny Bay | Boil Water | 2017-03-10 | Yes | Agoki Spring Water System, Kootenay. Issued by BC Interior Health. | Unacceptable water quality results (microbiological)
Duncan – individual | Boil Water | 2017-11-01 | Yes | Euphoric Juicery, Vancouver Island Health Authority | Consistent and ongoing total coliform presence
Duncan – individual | Boil Water | 2017-11-01 | Yes | Sungoma Art Centre. VIHA. | Elevated Total coliforms count found in samples
Dunster | Boil Water | 2008-04-15 | Yes | Dunster Community Hall. NHA. | Surface water source with no disinfection.
Edgewater | Boil Water | 2015-07-03 | Yes | Edgewater Hilltop Par 3 Water System, Area: Kootenays | No reason given.
Elko | Boil Water | 2004-12-09 | Yes | Caithness Mobile Home Park, Area: Kootenays | Source Water Contamination
Elko | Boil Water | 2000-07-11 | Yes | Canfor Elko – Elko, Area: Kootenays | Source Water Contamination
Enderby – individual | Boil Water | 2017-08-31 | Yes | Cedar Park Inn Water System. Area: Okanagan. | Insufficient treatment or disinfection residual.
Enderby – individual | Boil Water | 2011-10-07 | Yes | Lorenzos Cafe Water System, Area: Okanagan | Inadequate Disinfection / Treatment
Enderby – individual | Boil Water | 2007-04-13 | Yes | Church of God In Christ Mennonite Water System, Area: Okanagan | Source Water Contamination
Enderby – individual | Boil Water | 2005-01-01 | Yes | Dewers Spring Water System, Area: Okanagan | Inadequate Disinfection / Treatment
Errington – individual | Boil Water | 2018-01-30 | Yes | TIGER LILY FARM. VIHA. | Water does not meet the prescribed standard under the DWPR
Fairmont Hot Springs | Boil Water | 2015-10-01 | Yes | Spruce Grove Resort Campground Water System, Kootenay | Source Water Contamination
Falkland | Boil Water | 2008-08-11 | Yes | Bolean Lake Lodge Water System, Okanagan | Inadequate Disinfection / Treatment
Falkland | Boil Water | 2007-06-22 | Yes | Pinaus Lake Resort Water System, Areas: Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Falkland | Boil Water | 2005-05-17 | Yes | Pillar Lake Fishing Resort Water System, Areas: Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Fauquier | Boil Water | 2017-03-31 | Yes | Water Quality Advisory issued at Fauquier Water Service. Kootenay. Issued by BC Interior Health. | Excessive turbidity compromising treatment and water quality.
Fernie – individual | Boil Water | 2016-08-05 | Yes | Snowy Peaks Mobile Home Park Water System, BWN, Expected duration: until treatment equipment installed. Area: Kootenays | Positive Total Coliform lab result.
Fernie – individual | Boil Water | 2013-03-13 | Yes | Springside Mobile Home Park Water System, Area: Kootenays | Source water contamination
Fernie – individual | Boil Water | 2012-07-19 | Yes | Dicken Road Water Users Committee, Area: Kootenays | Source water contamination
Fernie – individual | Boil Water | 1994-05-01 | Yes | Artina Mobile Home Park, Area: Kootenays | Source water contamination
Fernie – individual | Boil Water | 1994-05-01 | Yes | Whitespruce Mobile Home Park Water System, Area: Kootenays | Source water contamination
Fort St James – individual | Boil Water | 2017-08-03 | Yes | Conifex. NHA. | Total coliforms detected in water samples
Fort St James – individual | Boil Water | 2016-08-16 | Yes | Stuart Lake Camp – Dunkley Water System. NHA. | Unsatisfactory water test result
Fort St James – individual | Boil Water | 2016-08-04 | Yes | Leo Creek Fisheries Camp. NHA. | Unsatisfactory water sample results
Fort St James – individual | Boil Water | 2016-07-22 | Yes | Tuck Fourplex. NHA. | Adverse test results
Fort St James – individual | Boil Water | 2009-07-20 | Yes | Tchentlo Lake Lodge. NHA. | Surface lake source with no disinfection
Fort St James – individual | Boil Water | 2008-09-24 | Yes | Douglas Water System. NHA. | Surface water source without any means of disinfection.
Fraser Lake | Boil Water | 2016-10-31 | Yes | Lakeview Motor Park Home. NHA. | No maintenace, no samples, defective UV system
Fruitvale | Boil Water | 2000-04-01 | Yes | Short/Bisgard Water System, Area: Kootenays | Source Water Contamination
Gabriola Island | Boil Water | 2017-10-10 | Yes | SILVA BAY RESORT & MARINA/STERLING RES. | Fire may have caused backflow in the system, water system may have been compromised.
Gabriola Island | Boil Water | 2016-10-21 | Yes | Dragon’s Lodge | Water does not meet microbiological standard
Gabriola Island | Boil Water | 2016-04-22 | Yes | Slow Rise Bakery | E. coli in treated water
Galiano Island | Boil Water | 2018-04-05 | Yes | Boil Water Notice (BWN) issued to Galiano Conservancy Assn. Issued by VIHA. | Reason not stated.
Gallagher Lake | Boil Water | 2016-01-19 | Yes | Boil Water Notice. Ye Olde Welcome Inn Water System. Okanagan. | Inadequate monitoring of equipment or procedures.
Galloway | Boil Water | 2016-08-22 | Yes | Rock Lake Summer Camp, Kootenay | Positive Total Coliform lab result
Gang Ranch | Boil Water | 2011-08-24 | Yes | Gang Ranch Reservoir. Thompson, Cariboo, Shuswap | Source water contamination
Gang Ranch | Boil Water | 2011-08-24 | Yes | Gang Ranch Well Water. Thompson, Cariboo, Shuswap | Source water contamination. Inadequate Monitoring of Equipment or Procedures.
Genelle – individual | Boil Water | 1997-01-16 | Yes | China Creek Water Users Community, Kootenay | Inadequate Disinfection / Treatment
Gibsons | Boil Water | 2014-08-29 | Yes | 1481 Reed Rd Water System. Garibaldi. | Non compliance with potable water quality standards. Insufficient water treatment.
Gillies Bay | Boil Water | 2009-05-27 | Yes | Beachkowski Springs WS, Coast Garibaldi | No reason given.
Gillies Bay | Boil Water | 2008-04-14 | Yes | Peoplet Springs WS, Coast Garibaldi | Non compliance with potable water quality standards.
Gillies Bay | Boil Water | 2008-12-17 | Yes | Copp Springs, Coast Garibaldi | Non compliance with potable water quality standards.
Glade | Boil Water | 2011-05-31 | Yes | Glade Irrigation District Water System, Kootenay | Inadequate Disinfection / Treatment
Gold Bridge | Boil Water | 2017-10-23 | Yes | Gold Bridge WS, Thompson, Cariboo, Shuswap | Distribution system integrity failure.
Gold River | Boil Water | 2018-03-14 | Yes | Boil Water Notice issued at Village of Gold River Water Supply. VIHA. | Equipment malfunction during treatment or distribution. Water main break.
Golden | Boil Water | 2018-02-23 | Yes | Heather Mountain Lodge Water System. Area: Kootenays. | Unacceptable water quality results (microbiological).
Golden | Boil Water | 2017-03-08 | Yes | Don’s Trailer Court Water System, BWN issued. Loss of water pressure to upper zone. Area: Kootenays | Distribution system integrity failure.
Golden | Boil Water | 2015-08-07 | Yes | Kicking Horse Rest Area Water System. Area: Kootenays | No reason given.
Golden | Boil Water | 2015-02-24 | Yes | Beaverfoot Lodge Campground Water System. Area: Kootenays | Inadequate Disinfection/Treatment
Golden | Boil Water | 2011-08-19 | Yes | Redburne Mountain Trailer Court Water System. Area: Kootenays | No reason given.
Golden | Boil Water | 2010-09-27 | Yes | Kinbasket Lake Resort Campground Water System Area: Kootenays | Inadequate treatment/disinfection
Goodlow | Boil Water | 2016-08-18 | Yes | Boundary Lake Tank Loader. NHA. | No treatment
Goodlow | Boil Water | 2016-07-26 | Yes | Feye Spring Water System. NHA. | System is at risk of containing pathogens
Grand Forks | Boil Water | 2016-08-29 | Yes | Pines Bible Camp Water System, Area: Kootenay | Positive Total Coliform lab result
Grand Forks | Boil Water | 2013-06-04 | Yes | West Grand Forks Mobile Home Park. Area: Kootenay | Construction/Repairs/Maintenance
Grand Forks | Boil Water | 2005-07-27 | Yes | The Victorian Motel & RV Park Water System. Area: Kootenay | Inadequate Disinfection / Treatment
Grand Forks | Boil Water | 2004-04-05 | Yes | Grand Forks Irrigation District – Nursery Area: Kootenay | Inadequate Disinfection / Treatment
Grand Forks | Boil Water | 2003-03-26 | Yes | Wlgress Lake Rest Area Area: Kootenay | Source water contamination
Granisle | Boil Water | 2017-10-05 | Yes | Granisle community water system | Due to a malfunctioning chlorine pump
Grasmere | Boil Water | 2012-10-22 | Yes | McDonald Ranch & Lumber, Kootenay region | Inadequate Disinfection/Treatment
Gray Creek | Boil Water | 2015-10-05 | Yes | Lakeview Store and Campground Water System, Area: Kootenays | No reason given.
Gray Creek | Boil Water | 2014-07-02 | Yes | Gray Creek Store, Area: Kootenays | Inadequate Disinfection / Treatment
Gray Creek | Boil Water | 2004-05-28 | Yes | Old Crow Lakeside Resort Water System, Area: Kootenays | Source Water Contamination
Greenwood | Boil Water | 2010-08-04 | Yes | Camp Bonnett Girl Guide Camp Water System, Kootenay | Inadequate monitoring of equipment or procedures.
Grindrod | Boil Water | 2012-03-02 | Yes | Birchdale Par 3 Golf Water System, Okanagan | No reason given.
Hagensborg | Boil Water | 2010-09-30 | Yes | Bailey Bridge Campsite Showers WS, Coast Garibaldi | Non compliance with potable water quality standards.
Hagensborg | Boil Water | 2003-06-27 | Yes | Nusatsum River Guest House B&B and Cabins, Coast Garibaldi | Non compliance with potable water quality standards.
Hagensborg | Boil Water | 1992-12-18 | Yes | Hagensborg Waterworks District, Coast Garibaldi | Non compliance with potable water quality standards.
Hathaway Lake | Boil Water | 2001-12-12 | Yes | MooseHaven Resort Thompson/Cariboo/Shuswap | No reason given.
Hathaway Lake | Boil Water | 2001-10-25 | Yes | Hathaway Lake Resort Ltd. Thompson/Cariboo/Shuswap | No reason given.
Hedley | Boil Water | 2003-04-01 | Yes | Stemwinder Campground Water System. Area: Okanagan | Construction/Repairs/Maintenance
Heffley Creek | Boil Water | 2017-05-07 | Yes | Boil Water Notice issued to Heffley Creek Waterworks. | Distribution system integrity failure.
Heffley Creek | Boil Water | 2017-04-27 | Yes | Water Quality Advisory issued to Haven Park Water System. TCS. Issued by BC Interior Health. | Unacceptable water quality results (microbiological).
Heffley Creek | Boil Water | 2016-06-24 | Yes | Lamberton’s Knouff Lake Resort Water System. Area: Thompson, Cariboo, Shuswap. | Positive Total Coliform and E. coli lab results.
Heffley Creek | Boil Water | 2015-06-05 | Yes | Tolko Industries Water. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection/Treatment.
Heffley Creek | Boil Water | 2010-07-07 | Yes | Lakeview Water Users Community. Area: Thompson, Cariboo, Shuswap. | No reason given.
Heffley Creek | Boil Water | 2005-07-16 | Yes | Hitch n Rail Family Resort – Water. Area: Thompson, Cariboo, Shuswap. | Insufficient Disinfection/treatment.
Hope | Boil Water | 2000-06-14 | Yes | Huckleberry Village Water System. FHA. | Untreated Surface Water
Hope | Boil Water | 2000-03-29 | Yes | Summer Road Rate Payers WS. FHA. | Untreated Surface Water
Hornby Island – individual | Boil Water | 2017-12-07 | Yes | Ruth’s Kitchen. VIHA. | Unsatisfactory test results.
Hornby Island – individual | Boil Water | 2016-11-11 | Yes | Whhaling Station Improvement District. VIHA. | Water does not meet the prescribed microbiological standard.
Hornby Island – individual | Boil Water | 2005-01-21 | Yes | Sollans Road Pump. Vancouver Island Health Authority. | Water Quality does not meet Canadian Drinking Water Standards.
Horsefly | Boil Water | 2013-04-18 | Yes | Bella Vista Trailer Court Water System. Thompson Cariboo Shuswap. | Source water contamination.
Horsefly | Boil Water | 2006-08-07 | Yes | Mitchell Bay Landing. Thompson Cariboo Shuswap. | Inadequate Disinfection / Treatment.
Horsefly | Boil Water | 2004-06-15 | Yes | Crooked Lake Resort Water System. Thompson Cariboo Shuswap. | Inadequate disinfection/treatment.
Houston | Boil Water | 2017-04-11 | Yes | Riverside MHP. NHA. | Unacceptable bacteriological test results.
Houston | Boil Water | 2014-11-12 | Yes | Dungate Water Users Society. NHA. | Current chlorine contact time is not adequate for the treatment of pathogenic protozoa.
Houston | Boil Water | 2011-09-26 | Yes | Hamblin Water System. NHA. | Shallow well under the influence of surface water.
Invermere – individual | Boil Water | 2018-04-04 | Yes | Boil Water Notice (BWN) issued. WSI Invermere RCMP Detachment Water System. | Due to unacceptable water quality results (microbiological).
Invermere – individual | Boil Water | 2017-09-21 | Yes | WSI Invermere RCMP. Detachment Water System. Water quality advisory. Area: Kootenays | Untreated drinking water at risk of containing pathogens.
Invermere – individual | Boil Water | 2017-08-15 | Yes | Larch Point Water System. Water Quality Advisory. Area: Kootenays | Insufficient treatment or disinfection residual.
Invermere – individual | Boil Water | 2017-05-04 | Yes | Deere Ridge 92 WS. Area: Kootenays. | Unacceptable water quality results (microbiological).
Iskut | Boil Water | 2010-10-26 | Yes | Boil Water Notice issued to the Eskay Creek Mine System. NHA. | Treatment system inoperational.
Kaleden – individual | Boil Water | 2017-06-08 | Yes | Twin Lakes Water System. Okanagan. | Unacceptable water quality results (microbiological).
Kaleden – individual | Boil Water | 2009-08-26 | Yes | Twin Lakes Golf Course Water System. Okanagan. | Reason: other
Kamloops – individual | Boil Water | 2017-06-27 | Yes | Del Oro Community Water System. Water Quality Advisory. Thompson, Cariboo, Shuswap. | Excessive turbidity compromising treatment and water quality.
Kamloops – individual | Boil Water | 2017-06-22 | Yes | Campbell Hills Guest Ranch. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological).
Kamloops – individual | Boil Water | 2010-09-27 | Yes | Bonaparte South Camp Water System. Thompson, Cariboo, Shuswap. | Untreated drinking water at risk of containing pathogens.
Kamloops – individual | Boil Water | 2008-06-18 | Yes | Spruce Wilderness Lodge Water System. Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Kamloops – individual | Boil Water | 2007-09-28 | Yes | Armour Ranch Water System. Thompson, Cariboo, Shuswap. | Reason: other
Kamloops – individual | Boil Water | 2004-07-30 | Yes | Wendego Lodge Water System. Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Kamloops – individual | Boil Water | 1999-09-06 | Yes | Tranquille Valley Water Users Community. Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Kaslo – individual | Boil Water | 2017-10-26 | Yes | Pineridge Water Utility Society. Kootenay. | Excessive turbidity compromising treatment and water quality.
Kaslo – individual | Boil Water | 2017-06-06 | Yes | Woodbury Village Water System. Kootenay. | Unacceptable water quality results (microbiological).
Kaslo – individual | Boil Water | 2016-11-04 | Yes | Loki Lots. Kootenay. | Unacceptable water quality results (microbiological).
Kaslo – individual | Boil Water | 2013-09-20 | Yes | Greensword Lease Lots. Kootenay. | Source Water Contamination
Kaslo – individual | Boil Water | 2003-04-01 | Yes | Mirror Lake Water Users. Kootenay. | Inadequate Disinfection / Treatment
Kaslo – individual | Boil Water | 2003-04-01 | Yes | Fletcher Creek Improvement District Water System. Kootenay. | Inadequate Disinfection / Treatment
Kaslo – individual | Boil Water | 2003-04-01 | Yes | Howser Water Users. Kootenay. | Inadequate Disinfection / Treatment
Kaslo – individual | Boil Water | 2001-03-04 | Yes | Lakewood Inn & Campground. Kootenay. | Inadequate Disinfection / Treatment
Keats Island | Boil Water | 2014-07-11 | Yes | Plumper Cove Marine Park. Coast Garibaldi. | Non compliance with potable water quality standards.
Kelowna | Boil Water | 2017-07-26 | Yes | Boil Water Notice issued to Glenmore Ellison Improvement District. Okanagan. Issued by BC Interior Health. | Excessive turbidity compromising treatment and water quality.
Kelowna – individual | Boil Water | 2018-04-09 | Yes | Boil Water Advisory issued to residents receiving water from the Southeast Kelowna Irrigation District. Area: Okanagan. | Increased turbidity.
Kelowna – individual | Boil Water | 2017-05-29 | Yes | Braeloch Water Users. Water Quality Advisory. Area: Okanagan. | Excessive turbidity compromising treatment and water quality.
Kelowna – individual | Boil Water | 2017-05-24 | Yes | Powers Creek Retreat Water System. Area: Okanagan | Unacceptable water quality results (microbiological).
Kelowna – individual | Boil Water | 2016-08-11 | Yes | Camp Dunlop Water System. Area: Okanagan | Unacceptable water quality results (microbiological).
Kelowna – individual | Boil Water | 2015-07-23 | Yes | Owaissi Anglican Camp Water System. Area: Okanagan | Inadequate Disinfection / Treatment
Kelowna – individual | Boil Water | 2004-01-01 | Yes | Joe Rich Fire Hall Water System. Area: Okanagan | Inadequate Disinfection / Treatment
Kelowna – individual | Boil Water | 2003-06-27 | Yes | Petterson Road Water System. Area: Okanagan | Inadequate Disinfection / Treatment
Kelowna – individual | Boil Water | 2003-10-01 | Yes | Postill Lake Water System. Area: Okanagan. | Inadequate Disinfection / Treatment
Kelowna – individual | Boil Water | 2002-02-18 | Yes | 427 447 457 and 525 Rose Valley Road Water System. Area: Okanagan | Unapproved Water Supply System or Construction Works.
Kelowna – individual | Boil Water | 2000-11-01 | Yes | Peregrine Water System. Area: Okanagan | Inadequate Disinfection / Treatment.
KITASOO Band | Boil Water | 2018-01-02 | Yes | Kitasoo CWS. Affects 201-500 people. Source: FNHA. | No reason given.
Kitimat-Stikine | Boil Water | 2015-06-19 | Yes | BWA – Skeena River Fishing Lodge Water System. Northern Health Authority. | Bacteria detected in samples.
Kitwanga | Boil Water | 2011-08-08 | Yes | Mountainview Property Owners Association Water System. NHA. | Adverse sample results. Related to the lack of treatment and/or the age of the current reservoir being used for storage.
Knutsford | Boil Water | 2015-10-09 | Yes | Ayesha Mosque Water System. Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Kootenay Bay | Boil Water | 2016-08-22 | Yes | Kootenay Bay Rest Stop Water System. | Unacceptable Water Quality.
KWAKIUTL Cluxewe Campground | Boil Water | 2017-10-20 | Yes | Cluxewe Campground PWS-NT. Affects 251-500 people. FNHA | No reason given.
Lac la Hache | Boil Water | 2017-06-30 | Yes | Lac La Hache Provincial Park Water System. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological).
Lake Country – Oyama | Boil Water | 2013-09-27 | Yes | The Boil Water Notice has been downgraded to a Water Quality Advisory for turbidity, for Oyama Lake. We are pleased to report that recent upgrades to the Oyama Lake source, including a new chlorination and reservoir have resulted in improved reliability and water quality. Turbidity level is fair. Okanagan. | Turbidity
Lake Country | Boil Water | 2016-09-23 | Yes | Winfield Okanagan Center Water System. BWN – localized to Lakewood Mall, 12008 and 12022 Pretty Rd. Area: Okanagan. | Distribution system integrity failure.
Lake Country | Boil Water | 2013-09-27 | Yes | Oyama Water System. Water Quality Advisory. Area: Okanagan. | Turbidity.
Lake Country | Boil Water | 2007-07-31 | Yes | Cranmer Springs Water System. Area: Okanagan. | Inadequate Disinfection / Treatment
Lake Country | Boil Water | 2007-07-31 | Yes | Origen Springs Water System. Area: Okanagan. | Inadequate Disinfection / Treatment
Lake Cowichan – individual | Boil Water | 2013-10-30 | Yes | Green Timbers Water System. Posted 25-Oct-16, Issued 30-Oct-13, Vancouver Island Health Authority. | Unapproved source.
Lake Errock | Boil Water | 2014-08-21 | Yes | Sunny Trails Club Water System. FHA. | Unacceptable levels of microbiological contamination detected in drinking water supply.
Lardeau | Boil Water | 2009-07-07 | Yes | Davis Creek Provincial Park. Kootenays. | No reason given.
Lasqueti Island | Boil Water | 1994-04-21 | Yes | Pete’s Lake Water Users Society – Lasqueti Island. Vancouver Island Health Authority. | No reason given.
Lazy Lake | Boil Water | 2013-10-03 | Yes | Lazy Lake. Kootenay. | Inadequate Disinfection / Treatment
Lee Creek | Boil Water | 2014-08-22 | Yes | Whisper Mountain Land Owners Water System. Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment.
Liard River Liard Hotsprings Resort | Boil Water | 2017-10-20 | Yes | Liard River Hotspring Resort. NHA | Unsatisfying test results.
Likely | Boil Water | 2017-03-28 | Yes | High Country Inn. Thompson/Cariboo/Shuswap. | Unacceptable water quality results (microbiological).
Likely | Boil Water | 2015-04-16 | Yes | Cedar Point Park. Thompson/Cariboo/Shuswap | Inadequate Disinfection / Treatment
Lillooet | Boil Water | 2013-10-10 | Yes | Willows At Six Mile Campground. Area: Thompson, Cariboo, Shuswap. | Source Water Contamination.
Lillooet | Boil Water | 2008-10-15 | Yes | Seton Lake Trailer Park Water System. Area: Thomspon, Cariboo, Shuswap. | Inadequate Disinfection / Treatment.
Lister | Boil Water | 1999-12-02 | Yes | Rykerts Irrigation District. Area: Kootenays | Source Water Contamination
Little Fort – individual | Boil Water | 2017-08-15 | Yes | Lost Horse Motel Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate operations and maintenance.
Little Fort – individual | Boil Water | 2017-04-13 | Yes | Rivermount Motel BnB and RV Park. Area: Thompson, Cariboo, Shuswap. | Insufficient treatment or disinfection residual.
Little Fort – individual | Boil Water | 2017-02-27 | Yes | Little Fort Community Hall Water System. Area: Thompson, Cariboo, Shuswap. | Water treatment equipment failure.
Little Fort – individual | Boil Water | 2013-07-23 | Yes | Rock Island Lake Fishing Camp Water System. Area: Thompson, Cariboo, Shuswap. | Source Water Contamination
Little Fort – individual | Boil Water | 2005-09-12 | Yes | Thuya Lakes Lodge – Water. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Logan Lake – individual | Boil Water | 2015-10-09 | Yes | Dominic Lake Resort Water System. Water quality advisory. Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Lone Butte – individual | Boil Water | 2004-03-24 | Yes | Lone Butte General Store Water System. Area: Thompson, Cariboo, Shuswap. | Source Water Contamination
Lone Butte – individual | Boil Water | 2004-10-11 | Yes | Lac des Roches Resort 2 triplexes, honeymoon cabin, chalet, suites 9, 10, 11. Area: Thompson, Cariboo, Shuswap | Source Water Contamination
Lone Butte – individual | Boil Water | 2001-10-25 | Yes | Hathaway Lake Resort Water System. Area: Thompson, Cariboo, Shuswap. | No reason given.
Lone Butte | Boil Water | 2013-06-21 | Yes | Piney Point Resort Water – Lone Butte. Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Lone Butte | Boil Water | 2012-02-10 | Yes | Moosehaven Resort Main Water System, Cabin Water System, Solo Water System. Thompson Cariboo Shuswap | Inadequate Disinfection/Treatment
Loon Lake – individual | Boil Water | 2014-09-27 | Yes | Anuyou Resort Water System. Thompson Cariboo Shuswap | Inadequate Disinfection / Treatment
Loon Lake – municipal | Boil Water | 2017-08-28 | Yes | Loon Lake Community Water System. Thompson Cariboo Shuswap. Water Quality Advisory. | Excessive turbidity compromising treatment and water quality.
Louis Creek | Boil Water | 2011-12-23 | Yes | Johnson Lake Resort. Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Lumby | Boil Water | 2017-05-31 | Yes | Boil Water Notice issued to Cedar Bridge School Water System. Okanagan. Issued by BC Interior Health. | Unacceptable water quality results; microbiological.
Lumby | Boil Water | 2013-10-16 | Yes | Rory Griffin Water System. Area: Okanagan. | Equipment failure.
Lumby | Boil Water | 2002-07-05 | Yes | Double V. M. Bible Camp Water System. Area: Okanagan. | Source water contamination
Lytton – individual | Boil Water | 2006-06-16 | Yes | Jade Springs Campground. Thompson/Cariboo/Shuswap. | Source Water Contamination
Lytton – individual | Boil Water | 1994-07-21 | Yes | Lower Gladwin Community Water System. Thompson/Cariboo/Shuswap | Unapproved Water Supply System or Construction Works.
Lytton – individual | Boil Water | 1994-06-09 | Yes | Gladwin Mobile Home Park Water System. Thompson/Cariboo/Shuswap | Inadequate Disinfection / Treatment
Lytton First Nation | Do Not Consume | 2013-02-20 | Yes | DNC Advisory for GWSEP Gas Station. Public Water System – Non-Transient (PWS-NT). Source: First Nations Health Authority (FNHA). | Due to significant deterioration in source water quality.
Mabel Lake | Boil Water | 2018-03-30 | Yes | Water Quality Advisory issued to Mabel Lake Water Utility. Issued by Interior Health. Okanagan. | Distribution system integrity failure.
Mabel Lake | Boil Water | 2014-08-15 | Yes | Mabel Lake Provincial Park. Area: Okanagan | Construction /Repairs / Maintenance
Mable Canyon Provincial Park | Boil Water | 2017-09-08 | Yes | Mable Canyon Provincial Park. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological).
Madeira Park | Do Not Use | 2016-08-12 | Yes | Crossroad Grill RV Park. Do Not Use Notice. Coast Garibaldi. | Insufficient water treatment.
Madeira Park | Boil Water | 2008-03-28 | Yes | Crossroads Grill. Coast Garibaldi. | Non compliance with potable water quality standards.
Magna Bay | Boil Water | 2016-07-14 | Yes | Magnavista Estates Water System. Thompson, Cariboo, Shuswap. | Positive Total Coliform lab result.
Magna Bay | Boil Water | 2016-08-05 | Yes | Twin Cedars Water System. Thompson, Cariboo, Shuswap. | Positive Total Coliform lab result.
Mahood Lake | Boil Water | 2012-06-20 | Yes | Mahood Lake Provincial Park Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Malakwa – individual | Boil Water | 2017-08-25 | Yes | Speedway Coffee Shop Water System. Thompson Cariboo Shuswap Area | Unacceptable water quality results (microbiological)
Malakwa – individual | Boil Water | 2017-05-18 | Yes | Malakwa Cafe Water System. Thompson Cariboo Shuswap Area. | Inadequate operations and maintenance.
Malakwa – individual | Boil Water | 2014-12-05 | Yes | Malakwa Supermarket Water System. Thompson Cariboo Shuswap Area. | Source Water Contamination
Malakwa – individual | Boil Water | 2011-08-04 | Yes | Malakwa Mobile Home Park Water System. Thompson Cariboo Shuswap Area. | Source water contamination.
Manning Park | Boil Water | 2011-03-14 | Yes | Lightening Lake Campground Hand Pump Water System. Area: Okanagan. | Inadequate Protection of Intake.
Manning Park | Boil Water | 2007-06-06 | Yes | Coldspring Campground 2nd Level Handpump Water System, Pump 2. Area: Okanagan. | Reason: other
Manning Park | Boil Water | 2007-06-06 | Yes | Coldspring Campground Entrance Handpump Water System. Area: Okanagan. | Reason: other
Manning Park | Boil Water | 2007-06-06 | Yes | Lone Duck Water System. Area: Okanagan. | Reason: other
Mara | Boil Water | 2017-07-26 | Yes | Mara Provincial Park. Okanagan. | Unacceptable water quality results (microbiological)
Mayne Island | Boil Water | 2018-04-03 | Yes | Boil Water Notice issued to Springwater Lodge on Mayne Island. Issued by VIHA. | Water does not meet the prescribed standard under the DWPR.
McBride | Boil Water | 2009-06-10 | Yes | McBride Christian Day School. NHA. | Surface water source with no disinfection.
McBride | Boil Water | 2006-06-15 | Yes | Rainbow Creek Water System. NHA. | Surface water source with no disinfection.
McBride | Boil Water | 2003-01-03 | Yes | Bell Mountain Good Neighbour Community Water System. NHA. | Inadequate System.
McBride | Boil Water | 1995-03-21 | Yes | Lucille Mountain Water Users. NHA. | Source water with no disinfection.
McBride | Boil Water | 1995-03-21 | Yes | Mountainview MHP. NHA. | Surface water source with no disinfection.
McClure – individual | Boil Water | 2017-08-16 | Yes | Carl’s Market Garden Water System. Thompson, Cariboo, Shuswap. | Untreated drinking water at risk of containing pathogens.
McClure – individual | Boil Water | 2015-05-28 | Yes | Pinegrove Campground Water System. Thompson, Cariboo, Shuswap. | Construction /Repairs / Maintenance
McClure – individual | Boil Water | 2014-03-27 | Yes | McClure Fire Fighters & Recreation Association Water System. Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
McConnell Provincial Park | Boil Water | 2011-09-08 | Yes | McConnell Lake Provincial Park. Thompson Cariboo Shuswap. | Source Water Contamination
McQueen Lake – individual | Boil Water | 2017-09-28 | Yes | McQueen Lake Water System Washhouse. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Merritt – individual | Boil Water | 2017-07-06 | Yes | Nicola Lakeshore Estates Water System. Water Quality Advisory. Area: Thompson, Cariboo, Shuswap. | Chemical and physical water quality parameters in excess of acceptable concentrations.
Merritt – individual | Boil Water | 2017-06-22 | Yes | Coquihalla Provincial Visitor Info Centre Water System. Area: Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Merritt – individual | Boil Water | 2016-11-03 | Yes | Miller’s Sunshine Valley Estates Water System. Water Quality Advisory. Area: Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Merritt – individual | Boil Water | 2016-08-04 | Yes | Moon Shadows RV Park Water System. Area: Thompson, Cariboo, Shuswap. | Positive E. coli , Total Coliform lab result.
Merritt – individual | Boil Water | 2016-03-08 | Yes | Mamette Lake Trailer Park. WQA Water Quality Advisory. Area: Thompson, Cariboo, Shuswap. | Positive Total Coliform lab result
Merritt – individual | Boil Water | 2013-04-08 | Yes | SX Ranch Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection/Treatment
Merritt – individual | Boil Water | 2011-06-24 | Yes | A-P Guest Ranch Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate disinfection/treatment
Merritt – individual | Boil Water | 2010-09-16 | Yes | Chataway Lakes Resort Water System. Area: Thompson, Cariboo, Shuswap. | Source water contamination
Merritt – individual | Boil Water | 2007-10-15 | Yes | Merritt Mountain Music Festival Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Protection of Distribution.
Merritt – individual | Boil Water | 2007-08-10 | Yes | Nicola Ranch. Area: Thompson, Cariboo, Shuswap. | Source Water contamination.
Merritt – individual | Boil Water | 2005-02-28 | Yes | Homestead Pit – Elkhart. Area: Thompson, Cariboo, Shuswap. | Source water contamination
Moberley Lake | Boil Water | 2013-08-19 | Yes | Moberley Lake Provincial Park. NHA. | Chlorination system not functioning.
Monte Creek | Boil Water | 2016-01-05 | Yes | Rocky Point Water Co-op – Monte Creek. Thompson/Cariboo/Shuswap | Positive Total Coliform lab result.
Monte Lake – individual | Boil Water | 2017-07-12 | Yes | Heritage Campsite & RV Park Water System. Thompson Cariboo Shuswap | Unacceptable water quality results (microbiological)
Monte Lake – individual | Boil Water | 2017-02-22 | Yes | Monte Lake Store Water System. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Montrose | Boil Water | 2018-03-13 | Yes | Water Quality Advisory issued to the Village of Montrose. Kootenay. | Routine maintenance and planned work.
Moyie | Boil Water | 2016-08-12 | Yes | Eagles Nest RV Resort Campground. Kootenay. | Positive Total Coliform lab result.
Moyie | Boil Water | 2015-07-13 | Yes | Lakeview Resort RV Park Water System. Kootenay. | No reason given.
Nakusp | Boil Water | 2017-05-17 | Yes | The Coachman Water System. Area: Kootenays. | Unacceptable water quality results (microbiological)
Nakusp | Boil Water | 2012-06-07 | Yes | Three Islands Resort Water System. Kootenays. Water Quality Advisory. | Inadequate Protection of Distribution System.
Nakusp | Boil Water | 2004-04-01 | Yes | Baerg Creek Dam Water Users. Area: Kootenays. | No reason given.
Nakusp | Boil Water | 2003-04-01 | Yes | Dog Creek Water System. Area: Kootenays. | No reason given.
Naramata | Boil Water | 2018-04-09 | Yes | Water Quality Advisory issued to Naramata Water System. Area: Okanagan. | Due to distribution system integrity failure.
Naramata | Boil Water | 2003-05-01 | Yes | Chute Lake Resort Water System. Area: Okanagan. | Inadequate Disinfection / Treatment
Nelson – individual | Boil Water | 2018-03-21 | Yes | Water Quality Advisory (WQA) issued at Blaylock Condos Water System. Area: Kootenays. | Due to excessive turbidity compromising treatment and water quality.
Nelson – individual | Boil Water | 2018-02-08 | Yes | North Shore Water Utility. Water Quality Advisory. Area: Kootenays. | Excessive turbidity compromising treatment and water quality.
Nelson – individual | Boil Water | 2018-01-17 | Yes | Crescent Beach Resort Water System. Water Quality Advisory. Area: Kootenays. | Unacceptable water quality results (microbiological). Untreated drinking water at risk of containing pathogens.
Nelson – individual | Boil Water | 2018-01-03 | Yes | Kokanee Glacier Resort Water System. Water Quality Advisory. Area: Kootenays. | Unacceptable water quality results (microbiological)
Nelson – individual | Boil Water | 2017-06-30 | Yes | North Shore Fire Hall Water System. Area: Kootenays | Unacceptable water quality results (microbiological)
Nelson – individual | Boil Water | 2017-06-05 | Yes | Brierwood Estates Strata Development. Water Quality Advisory. Area: Kootenays. | Unacceptable water quality results (microbiological)
Nelson – individual | Boil Water | 2017-06-01 | Yes | Six Miles Water Users. Do not consume. Area: Kootenays | Inadequate construction or protection of distribution, storage and other waterworks.
Nelson – individual | Boil Water | 2017-05-12 | Yes | Bonaventure Trailer Park. Area: Kootenays | Untreated drinking water at risk of containing pathogens.
Nelson – individual | Boil Water | 2017-01-13 | Yes | Bourke Creek Improvement District. Area: Kootenays | Water treatment equipment failure
Nelson – individual | Boil Water | 2016-06-13 | Yes | Crescent Beach Resort 2. Water Quality Advisory. Area: Kootenays | Positive total coliforms results.
Nelson – individual | Boil Water | 2015-09-08 | Yes | Taghum Improvement District Water System. Area: Kootenays. | Inadequate Disinfection / Treatment
Nelson – individual | Boil Water | 2013-06-11 | Yes | Toad Rock Water System. Water Quality Advisory. Area: Kootenays. | Inadequate Disinfection/treatment
Nelson – individual | Boil Water | 2010-10-19 | Yes | 21 Pines Manufactures Home Park Water System. Water Quality Advisory. Area: Kootenays. | No reason given.
Nelson – individual | Boil Water | 2005-05-31 | Yes | Georama Road Water Users Community. Area: Kootenays | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Whitehead Waterworks District. Area: Kootenays. | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Clayton Creek Improvement District. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Eagle Creek Water Users Community. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Klines Mobile Home Park. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Six Mile Water Users. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Longbeach Water Users. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Sandy Creek Water Users Community. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Cedar Glen Mobile Home Park. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Crystal Springs Water Users. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-04-01 | Yes | Procter Creek Water Users Community. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Birch Grove Campground. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Jarvis Creek Water System. Kootenay | Inadequate treatment/disinfection
Nelson – individual older | Boil Water | 1992-03-04 | Yes | Morley Spring Water Users. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Taghill Water Users Community. Area: Kootenays | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Taghum Spring Water Users; Community Area: Kootenays | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Nasookin Improvement District Water System. Kootenay | Inadequate Disinfection / Treatment
Nelson – individual older | Boil Water | 1992-01-01 | Yes | Rosling Spring Water Users. Kootenay | Inadequate Disinfection / Treatment
Nelson Island | Boil Water | 2016-02-01 | Yes | Wesquarry Water System. Coastgaribaldi | Insufficient water treatment.
Nicholson | Do Not Consume | 2017-10-11 | Yes | Nicholson Elementary School. Do not consume. Kootenay | Chemical and physical water quality parameters in excess of acceptable concentrations.
Nimpo Lake | Boil Water | 2012-01-23 | Yes | Stewarts Lodge and Camps Water System. Coastgaribaldi | Non compliance with potable water quality standards.
Ocean Falls | Boil Water | 2011-12-18 | Yes | Ocean Falls Townsite. Coastgaribaldi | Insufficient water treatment.
Okanagan Falls | Boil Water | 2018-03-29 | Yes | Boil Water Notice (BWN) issued at Skaha Estates Improvement District. Okanagan. | Due to unacceptable water quality results (microbiological).
Okanagan Falls | Boil Water | 2017-11-29 | Yes | Vaseux Lake Improvement District Water System. Okanagan. | Unacceptable water quality results (microbiological)
Okanagan Indian Band | Boil Water | 2017-05-09 | Yes | Salmon River CWS (9 houses). Affects 0-50 people. First Nations Health Authority. | No reason given.
Okanagan Indian Band | Boil Water | 2017-05-09 | Yes | Whiteman Creek CWS (29 houses). Affects 50-100 people. First Nations Health Authority. | No reason given.
Oliver – individual | Boil Water | 2012-08-23 | Yes | Covert Farms Pancho Country Market Water System. Okanagan | Unapproved Water Supply System or Construction Works.
Oliver – individual | Boil Water | 2010-07-22 | Yes | Inkaneep Provincial Park Water System. Okanagan. | Reason: other
Oliver – individual | Boil Water | 2003-11-21 | Yes | 8956 Thorpe Road Water System. Okanagan | Inadequate Disinfection / Treatment
Ootsa Lake – individual | Boil Water | 2017-09-01 | Yes | Tahtsa Reach Camp. | Disinfection issues, UV lamp malfunctioning.
Osoyoos – individual | Boil Water | 2001-12-19 | Yes | Willow Beach Mobile Home Park Water System. Area: Okanagan | Source water contamination
Osoyoos – individual | Boil Water | 2001-07-01 | Yes | Tamri Motel & Campground Water System. Area: Okanagan | Inadequate Disinfection / Treatment
Osoyoos – individual | Boil Water | 2001-06-23 | Yes | Cabana Beach Campground & RV Park Water System. Area: Okanagan | Inadequate Disinfection / Treatment
Osoyoos – individual | Boil Water | 2010-09-24 | Yes | Brookvale Holiday Resort Water System. Water Quality Advisory. Okanagan. | No reason given.
Osoyoos – individual | Boil Water | 2007-06-06 | Yes | Osoyoos Irrigation District. Boundary. | Inadequate Disinfection / Treatment
Osoyoos – individual | Boil Water | 2006-03-27 | Yes | Boundary Irrigation District. Okanagan. | Source water contamination
Osoyoos – rural | Boil Water | 2018-03-28 | Yes | The Town of Osoyoos has issued a Boil Water Notice for Domestic Water Customers served by Rural Water System 8 and 9. Effective April 1, 2018 until November 16, 2018. | During this time period the water source is switched from groundwater (well source) to Osoyoos Lake surface water supply. While the Osoyoos Lake water is chlorinated, the current disinfection process is not adequate to protect from bacterial, viral and protozoan pathogens that may be present in the surface water source.
Passmore | Boil Water | 2016-07-20 | Yes | Passmore Park Developments. Kootenay. | Positive Total Coliform lab result.
Paul Lake Provincial Park | Boil Water | 2009-05-15 | Yes | Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Paul Lake Provincial Park | Boil Water | 2008-07-21 | Yes | Paul Lake Recreation Area Water System. Thompson, Cariboo, Shuswap | Other.
Peachland | Do Not Consume | 2018-04-09 | Yes | Do Not Consume (DNC) advisory in effect at Peachland Municipal Water -Deep Creek. Okanagan. | Due to excessive turbidity compromising treatment and water quality.
Pemberton | Boil Water | 2014-01-02 | Yes | Lillooet Lake Estates – Water System. Coast Garibaldi | Water treatment failure or malfunction.
Penticton | Boil Water | 2018-03-23 | Yes | Water Quality Advisory (WQA) issued at Sage Mesa Water & Public Services Water Co. Ltd. Area: Okanagan. | Due to excessive turbidity compromising treatment and water quality.
Penticton | Boil Water | 2000-01-01 | Yes | Farleigh Lake Waterworks Association – People of the Pipe. Area: Okanagan | Inadequate Disinfection / Treatment
Pinantan Lake | Boil Water | 1997-10-09 | Yes | Hyas Lake Fishing Camp. Area: Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment
Port Alberni – individual | Boil Water | 2016-01-15 | Yes | 1785 Port Alberni Highway Water System. Vancouver Island Health Authority. | Water does not meet drinking water standard.
Port Alberni – individual | Boil Water | 2000-10-26 | Yes | South Bay Management Committee. Vancouver Island Health Authority. | No disinfection or inadequate disinfection or disinfection residuals.
Port Alice | Boil Water | 2015-03-31 | Yes | NEUCEL SPECIALTY CELLULOSE WATER SYSTEM. VIHA. | No disinfection or inadequate disinfection or disinfection residuals.
Port Hardy – individual | Boil Water | 2017-09-14 | Yes | Wildwood Campground. Vancouver Island Health Authority. | Unsatisfactory tests results.
Powell River – individual | Boil Water | 2018-02-19 | Yes | A & B Burge Water System. Coast Garibaldi. | Insufficient water treatment.
Powell River – individual | Boil Water | 2016-05-02 | Yes | Solowan Water System. Coast Garibaldi | Insufficient treatment
Powell River – individual | Boil Water | 2013-10-02 | Yes | Emmonds Water System. Coast Garibaldi. | Positive ecoli sample result
Powell River – individual | Boil Water | 2006-03-31 | Yes | Shingle Beach Park. Do not use. Coast Garibaldi. | Non compliance with potable water quality standards.
Prince Rupert | Boil Water | 2016-06-20 | Yes | Ridley Island Water System. NHA | Due to consistent total coliform contamination.
Prince Rupert | Boil Water | 1998-03-31 | Yes | Dodge Cove Community Water System. NHA | No disinfection of source water.
Princeton – individual | Boil Water | 2017-09-13 | Yes | Kennedy Lake Water Users. Okanagan. | Chemical and physical water quality parameters in excess of acceptable concentrations.
Princeton – individual | Boil Water | 2017-09-08 | Yes | Pineapple Junction Waterworks. Water Quality Advisory. Okanagan | Unacceptable water quality results (microbiological)
Princeton – individual | Boil Water | 2017-06-24 | Yes | Envirogreen Water System. Okanagan | Unacceptable water quality results (microbiological)
Princeton – individual | Boil Water | 2016-08-06 | Yes | Copper Mountain Mine Truck Shop Water System. Water Quality Advisory. Okanagan | Positive Total Coliform lab result
Princeton – individual | Boil Water | 2014-07-14 | Yes | Kennedy Lake Water Users – Bulk Water Hauler – Hand Pump. Okanagan | Source water contamination
Princeton – individual | Boil Water | 2009-05-05 | Yes | Bromley Rock Campground Water System. Okanagan. | Unapproved Water Supply System or Construction Works.
Princeton – individual | Boil Water | 2008-08-12 | Yes | Well #1 main building, 2 chalets, 3 campgrounds, 5 churches, 6 homes. Okanagan | Inadequate Disinfection/treatment
Quadra Island | Boil Water | 2017-06-09 | Yes | April Point Developments South End Water. Vancouver Island Health Authority. | Unapproved source; no disinfection.
Quadra Island | Boil Water | 2015-11-09 | Yes | Heron Guest House. Vancouver Island Health Authority. | Significant deterioration in source water quality. No disinfection.
Quesnel – Individual | Boil Water | 2009-07-10 | Yes | Fox Dairy Farm. NHA. | E. coli in drinking water.
Quilchena – individual | Boil Water | 2017-06-22 | Yes | Sagebrush Strata Corporation Water System. Area: Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Quilchena – individual | Boil Water | 2004-08-20 | Yes | Little Beaver Creek Ranch Water System. Area: Thompson, Cariboo, Shuswap. | Source Water contamination
Radium Hot Springs | Boil Water | 2010-01-29 | Yes | Mountain Shadows Resort RV Park Water System. Area: Kootenays | Inadequate Disinfection / Treatment
Radium Hot Springs | Boil Water | 2002-06-01 | Yes | Dry Gulch Water System. Area: Kootenays | Inadequate Disinfection / Treatment
Radium Hot Springs | Boil Water | 2002-04-01 | Yes | Oasis Water Users Community. Area: Kootenays | Source Water Contamination
Revelstoke – individual | Boil Water | 2018-03-08 | Yes | Full Speed Rentals. Water Quality Advisory. Area: Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological).
Revelstoke – individual | Boil Water | 2017-08-17 | Yes | Shelter Bay Ferry Crew Camp Water System. Boil Water Notice – limited to the Shelter Bay Rest Stop public washrooms. Area: Thompson, Cariboo, Shuswap | Unacceptable water quality results (microbiological)
Revelstoke – individual | Boil Water | 2016-12-29 | Yes | Full Speed Rentals Office & Shop Water System. Area: Thompson, Cariboo, Shuswap. | Untreated drinking water at risk of containing pathogens.
Revelstoke – individual | Boil Water | 2015-02-18 | Yes | Thomas Brook Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Revelstoke – individual | Boil Water | 2010-10-12 | Yes | Downie R.V. Resorts Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment; Unapproved Water Supply System or Construction Works.
Revelstoke – individual | Boil Water | 2010-08-19 | Yes | Mulvehill Creek Wilderness. Bed & Breakfast Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Riondel – Individual | Boil Water | 2016-09-21 | Yes | Dutch Harbour Presbyterian Church Camp Water System. Kootenay. | Unacceptable water quality results (microbiological)
Riske Creek – individual | Boil Water | 2017-12-08 | Yes | Chilcotin Lodge Water Supply. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Rock Creek | Boil Water | 2017-05-03 | Yes | Boil Water Notice issued at Rock Creek Health Centre. Kootenay. Issued by BC Interior Health. | Unacceptable water quality results – microbiological.
Rock Creek | Boil Water | 2017-03-20 | Yes | Rock Creek General Store Water System. Kootenay. | Untreated drinking water at risk of containing pathogens. Inadequate operations and maintenance.
Rock Creek | Boil Water | 2016-12-07 | Yes | West Boundary Elementary School. Kootenay. | Unacceptable water quality results (microbiological)
Rock Creek | Boil Water | 2016-04-05 | Yes | Rock Creek Trading Post Water System. Kootenay. | Untreated drinking water at risk of containing pathogens
Rock Creek | Boil Water | 2004-06-01 | Yes | Johnston Creek Provincial Park. Kootenay. | Inadequate Disinfection / Treatment
Rossland | Boil Water | 2009-08-04 | Yes | Nancy Greene Provincial Park. Kootenay. | Inadequate Disinfection / Treatment
Salmo | Boil Water | 2004-04-01 | Yes | Sutco Contracting Limited. Area: Kootenays. | Inadequate Disinfection / Treatment
Salmo | Boil Water | 2003-03-26 | Yes | Wildwood Park. Area: Kootenays. | Inadequate Disinfection / Treatment
Salmo | Boil Water | 2000-03-23 | Yes | Porcupine Wood Products. Area: Kootenays. | No reason given.
Salmo | Boil Water | 1993-04-01 | Yes | Pine Springs Motel & Trailer Park. Area: Kootenays. | Inadequate Disinfection / Treatment
Salmon Arm – individual | Boil Water | 2017-06-08 | Yes | Maydean Mobile Home Park Water System. Areas: Okanagan – Thomson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
Salmon Arm – individual | Boil Water | 2015-07-17 | Yes | View Point RV Park & Cottages. Areas: Okanagan – Thomson, Cariboo, Shuswap | Inadequate treatment/disinfection
Salmon Arm – individual | Boil Water | 1990-01-01 | Yes | Silver Creek Water Users. Areas: Okanagan – Thomson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Salt Spring Island | Boil Water | 2016-11-03 | Yes | Swan Point Waterworks. Vancouver Island Health Authority. | Water does not meet the prescribed drinking water standard.
Salt Spring Island | Boil Water | 2016-10-06 | Yes | Cedar Beach Rails Resort. Vancouver Island Health Authority. | Water does not meet the prescribed standard under the DWPR. Adverse test results.
Sanca | Boil Water | 2000-06-06 | Yes | Sanca Water Users. Area: Kootenays. | Source Water Contamination
Sandspit | Boil Water | 2017-04-28 | Yes | Sandspit Airport Water System. NHA. | Shallow well, unacceptable microbiological results.
Sayward | Boil Water | 2018-02-01 | Yes | Boil Water Notice in effect at White River Resort in Sayward. VIHA. | Inadequate disinfection or disinfection residuals. No permit for this system. Not operating in compliance with DWPR.
Sayward | Boil Water | 2014-05-29 | Yes | Blandy Creek Water System. VIHA. | No disinfection or inadequate disinfection or disinfection residuals. Water does not meet the prescribed standard under the DWPR Schedule A.
Schroeder Creek | Boil Water | 2015-09-25 | Yes | Upgraded to Boil Water Advisory from Water Quality Advisory. Kootenay. | Schroeder Creek Water Society – Source Water Contamination.
Scotch Creek | Boil Water | 2016-06-30 | Yes | Copper Island RV Park. Thompson, Cariboo, Shuswap. | Positive Total Coliform lab result
Scotch Creek | Boil Water | 2014-05-15 | Yes | North Shuswap Christian Fellowship Water System. Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Scotch Creek | Boil Water | 2010-06-24 | Yes | A – Frame Water System. Thompson, Cariboo, Shuswap. | Construction /Repairs / Maintenance
Semiahmoo First Nation | Boil Water | 2005-10-13 | Yes | BWA for Semiahmoo Community Water System (CWS). Source: First Nations Health Authority (FNHA) | Due to equipment malfunction during treatment or distribution. Unacceptable microbiological quality.
Seymour Arm | Boil Water | 1997-08-06 | Yes | Seymour Arm Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Sheridan Lake | Boil Water | 2004-10-09 | Yes | Sheridan Park Resort. Area: Thompson/Cariboo/Shuswap. | Source Water Contamination
SHUSWAP | Boil Water | 1997-10-22 | Yes | View Waterworks Ltd. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection/treatment
Sicamous – individual | Boil Water | 2013-02-25 | Yes | Cedar Ridge Mobile Home Park. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection / Treatment
Sicamous – individual | Boil Water | 2010-06-09 | Yes | Queest Village Water System. Area: Thompson, Cariboo, Shuswap. | Inadequate Disinfection/treatment
Simoon Sound | Boil Water | 2014-06-11 | Yes | Powell Brook (Paddlers Inn). Vancouver Island Health Authority. | No disinfection or inadequate disinfection or disinfection residuals. Unacceptable microbiological quality.
Sinclair Mills | Boil Water | 2012-02-01 | Yes | Bearpaw Heli-skiing. NHA. | Source water contamination, treatment required.
Sinclair Mills | Boil Water | 1993-07-01 | Yes | Sinclair Mills Water Users Community. NHA. | Non potable surface source – not disinfected.
Skeena-Queen Charlotte | Boil Water | 2015-07-16 | Yes | Dolphin’s North Lodge. | Inadequate treatment/disinfection
Skeena-Queen Charlotte | Boil Water | 2015-07-16 | Yes | Peregrine Lodge – Water System. | Intrusion of surface water suspected.
Skookumchuck – individual | Boil Water | 2017-11-03 | Yes | Springbrook Water System. Water Quality Advisory. Kootenay. | Untreated drinking water at risk of containing pathogens
Slocan – individual | Boil Water | 2017-06-26 | Yes | Fortis BC – Corra Linn Power Plant. Area: Kootenays. | Unacceptable water quality results (microbiological).
Slocan – individual | Boil Water | 2016-06-13 | Yes | Playmor Utility Company Water System. Area: Kootenays. | Positive Total Coliform results.
Slocan – individual | Boil Water | 2009-12-14 | Yes | Lemon Creek Lodge Water System. Area: Kootenays. | Inadequate treatment/disinfection.
Slocan – individual | Boil Water | 2003-04-01 | Yes | Brandon Improvement District Water System. Area: Kootenays. | No reason given.
Smithers – individual | Boil Water | 2017-07-10 | Yes | Mountainview Adventures. NHA. | Unacceptable microbiological results.
Smithers – individual | Boil Water | 2015-02-06 | Yes | Scotia Road Water System. NHA | Multiple samples with total coliforms.
Smithers – individual | Boil Water | 2014-07-02 | Yes | Summit Reforestation & Forest Management Camp #2 Water System. NHA | Cause for unsatisfactory water sample is unknown.
Smithers – individual | Boil Water | 2014-04-24 | Yes | Evelyn Water System. NHA | Inadequate disinfection, shallow well.
Smithers – individual | Boil Water | 2014-04-15 | Yes | Paul Lychak Hall (Evelyn Community Hall). NHA | Do not use – Well must be shock chlorinated and resampled.
Smithers – individual | Boil Water | 2013-06-04 | Yes | Camp Yak isda Bik ah. | Coliform found in drinking water.
Smithers – individual | Boil Water | 2005-02-11 | Yes | Seymour Lake Water System. NHA | Well source not disinfected.
Smithers – individual | Boil Water | 2005-11-07 | Yes | Glacier Gulch Water Group Water System. NHA | Untreated surface water source.
Sooke | Boil Water | 2015-07-15 | Yes | Ragley Farm. | Water does not meet the prescribed standard under the DWPR.
Sorrento – individual | Boil Water | 2017-02-22 | Yes | Deer Ridge Estates Water System. Thompson, Cariboo, Shuswap. | Unacceptable water quality results (microbiological)
South East Kelowna District | Boil Water | 2018-01-02 | Yes | The South East Kelowna Irrigation District has downgraded the BOIL WATER NOTICE for users on the surface water system to a WATER QUALITY ADVISORY. The order is effective immediately and remains in effect until further notice. | The malfunction in the disinfection system at the intake on Hydraulic Creek has been repaired and tests have come back clean.
South Slocan – individual | Boil Water | 2018-03-23 | Yes | Water Quality Advisory (WQA) issued for users of the South Slocan Water System. | Due to increasing turbidity resulting from heavy rain and snow melt.
South Slocan – individual | Boil Water | 1992-01-01 | Yes | Beasley Water Users Community. Kootenay. | Inadequate Disinfection / Treatment
Spallumcheen – Individual | Boil Water | 2017-05-27 | Yes | Stepney Hill Farm Water System. Okanagan. | Unacceptable water quality results (microbiological)
Sparwood | Boil Water | 2016-08-12 | Yes | Elk Valley Mobile Home Park. BWN System placed under public notification while deficiencies are corrected. Area: Kootenays | Inadequate Protection of Distribution System
Sparwood | Boil Water | 2015-07-27 | Yes | Elkview Coal Plant Water System. Area: Kootenays | Inadequate Disinfection / Treatment
Sparwood | Boil Water | 2015-02-02 | Yes | Spardell Mobile Home Park Water System. Area: Kootenays | Line break
Sparwood | Boil Water | 2002-04-22 | Yes | Whispering Winds Mobile Home Park. Area: Kootenays | Source Water Contamination.
Spillimacheen | Boil Water | 2012-05-29 | Yes | Steamboat Mountain Chalets Ltd. Kootenay | Source water contamination
Squamish | Boil Water | 2016-10-24 | Yes | Squamish Valley Rod and Gun Club. Coast Garibaldi. | Insufficient water treatment.
Star Place | Boil Water | 2017-05-24 | Yes | The Regional District of Central Okanagan has upgraded the Water Quality Advisory to a Boil Water Advisory for residents served by the small Star Place Water System. The advisory affects eight properties connected to the community water system on Star Place. | Increased turbidity in the water system source from high runoff has resulted in water quality that might impact children, the elderly, or those with weakened immune systems.
Stellat’en First Nation | Do Not Consume | 2012-03-13 | Yes | DNC – Stellaquo Community Water System Source: First Nations Health Authority | Reason: Operation of system would compromise public health.
Stewart | Boil Water | 2011-09-29 | Yes | Long Lake Hydro Project. Non-potable small water system. NHA | Non-potable small water system.
Stuart Island | Boil Water | 2007-06-05 | Yes | Stuart Island Community Store WS. Vancouver Island Health Authority. | No disinfection or inadequate disinfection residuals; Unapproved Source.
Stuart Island | Boil Water | 2004-08-30 | Yes | Nanook Lodge. Vancouver Island Health Authority. | Significant deterioration in source water quality; Water does not meet the prescribed standard under the DWPR Schedule A.
Summerland – individual | Boil Water | 2018-01-16 | Yes | Camp Boyle Water System. Water Quality Advisory. Okanagan. | Chemical and physical water quality parameters in excess of acceptable concentrations.
Summerland – individual | Boil Water | 2017-06-09 | Yes | Sunoka Provincial Park Water System. Okanagan | Unacceptable water quality results (microbiological).
Ta Ta Creek | Boil Water | 2015-08-07 | Yes | Craig’s Mobile Home Park Water System. Kootenay. | No reason given.
Tappen – individual | Boil Water | 2017-06-09 | Yes | Balmoral Water System. Thompson, Cariboo, Shuswap | Unacceptable water quality results (microbiological)
Tappen – individual | Boil Water | 2016-10-13 | Yes | Strata Plan KAS 1714. Thompson, Cariboo, Shuswap | Routine maintenance and planned works resulting in unacceptable water quality results (microbiological).
Tappen – individual | Boil Water | 2013-11-27 | Yes | Just 4 Kidz. Water Quality Advisory. Thompson, Cariboo, Shuswap. | Source water contamination
Tappen – individual | Boil Water | 2009-09-09 | Yes | Sunnybrae Properties Water System. Thompson, Cariboo, Shuswap | Source water contamination, inadequate disinfection/treatment
Telkwa | Boil Water | 2013-10-16 | Yes | Sunset WS. NHA | Coliform bacteria detected. The installation of pre-treatment and/or further treatment devices may be required.
Telkwa | Boil Water | 2010-08-30 | Yes | Fir Bluff Water System. NHA | Coliforms present in water quality results.
Telkwa | Boil Water | 2005-04-06 | Yes | Round Lake Resort. NHA | No treatment or disinfection is provided.
Terrace | Boil Water | 2011-07-23 | Yes | Valhalla Creek Water System. NHA | Surface water source with no treatment.
Texada Island – individual | Boil Water | 2012-02-03 | Yes | The Retreat. Coastgaribaldi. | Non compliance with potable water quality standards.
Texada Island – individual | Boil Water | 2009-05-27 | Yes | Hoggan Spring Water Users Community. Coastgaribaldi | Non compliance with potable water quality standards.
Texada Island – individual | Boil Water | 2008-04-14 | Yes | Walker Spring WS. Coastgaribaldi. | Non compliance with potable water quality standards.
Texas Creek | Boil Water | 2018-02-07 | Yes | Boil Water Advisory issued to Texas Creek Community Water System. Issued by First Nations Health Authority, BC. | Reason not specified.
Thetis Island – individual | Boil Water | 2017-11-30 | Yes | Thetis Island School. Vancouver Island Health Authority. | Repeated presence of total coliforms in treated water.
Tl’azt’en Nation | Boil Water | 2005-01-07 | Yes | BWA for the Tl’azt’en Nation Dzitl’ainli (Middle River) Community Water System (CWS). FNHA | Equipment malfunction during treatment or distribution; Inadequate disinfection or disinfectant residuals; Unacceptable microbiological quality.
Topley – individual | Boil Water | 2017-08-11 | Yes | Topley Rest Area. NHA. | Unsatisfactory sample results.
Trail | Do Not Consume | 2018-02-20 | Yes | Issued to Trimac Transportation. Kootenay. | Chemical and physical water quality parameters in excess of acceptable concentrations.
Trail – individual | Boil Water | 2017-10-03 | Yes | Columbia Gardens Vineyard & Winery. Kootenay | Unacceptable water quality results (microbiological)
Tulameen | Boil Water | 1-Sep-15; 2-Nov-12 | Yes | Riddell Bay Water Society. Water quality advisory. Area: Okanagan. | No reason given.
Tumbler Ridge – individual | Boil Water | 2017-08-04 | Yes | Monkman Provincial Park – Well #1. NHA | No trained operator – Lack of information about the well and its groundwater quality.
Tunkwa Lake | Boil Water | 2012-09-07 | Yes | Tunkwa Campground Water System. Thompson Cariboo-Sushwap | Source water contamination
Twin Bays | Boil Water | 2000-08-08 | Yes | Longeval Creek Water Users Community. Kootenay. | Source water contamination
Ucluelet First Nation | Boil Water | 2014-05-20 | Yes | BWA – Wya Point Lodges. Trucked Public Water System-Non Transient (TPWS-NT). Source: First Nations Health Authority (FNHA). | Significant deterioration in source water quality. Equipment malfunction during treatment or distribution. Unacceptable Turbidity or particle counts.
Ucluelet First Nation | Boil Water | 2014-05-20 | Yes | BWA Wya Point Yurts – Trucked Public Water System-Non Transient (TPWS-NT) FNHA | Significant deterioration in source water quality; unacceptable microbiological quality.
Vanderhoof | Boil Water | 2018-04-03 | Yes | Boil Water Notice issued to Canfor-Plateau-Sawmill in Vanderhoof. Issued by NHA. | Reason not stated.
Vanderhoof | Boil Water | 2018-03-06 | Yes | Northside Mennonite Church. NHA. | Total coliforms found in water samples.
Vanderhoof | Boil Water | 2016-06-23 | Yes | Tatuk Lake Resort. NHA | Due to unsatisfactory water quality results.
Vaseux Lake | Boil Water | 2003-04-01 | Yes | Vaseux Lake Provincial Park Water System. Okanagan | Construction/Repairs/Maintenance
Vernon | Boil Water | 2017-05-24 | Yes | Watson Water Works. Water Quality Advisory. Okanagan. | Excessive turbidity compromising treatment and water quality.
Vernon | Boil Water | 1999-10-12 | Yes | Whitewood Neighbourhood Society. Okanagan. | Source water contamination.
Vidette Lake | Boil Water | 2004-03-01 | Yes | Vidette Lake Resort Water System. Area: Thompson, Cariboo, Shuswap | No reason given.
Walhachin | Boil Water | 2017-10-22 | Yes | Walhachin Community WS. Thompson, Cariboo, Shuswap. | Water treatment equipment failure
Wasa | Boil Water | 2015-09-17 | Yes | Norbury Lake Campground Water System. Kootenay. | Inadequate disinfection/treatment.
Wasa | Boil Water | 2003-04-01 | Yes | Wasa Lake Provincial Park Campground WS. | Source water contamination
Watch Lake | Boil Water | 2004-07-16 | Yes | Watch Lake Lodge - #3 Spring. Area: Thompson, Cariboo, Shuswap. | No reason given.
Watch Lake | Boil Water | 2001-07-16 | Yes | Watch Lake Lodge - #5 Shorty Horns Spring. Area: Thompson, Cariboo, Shuswap. | No reason given.
Westwold | Boil Water | 2016-12-02 | Yes | Westwold Elementary Water System. Thompson, Cariboo, Shuswap | Unapproved water supply system or construction works.
Westwold | Boil Water | 2012-06-06 | Yes | Royal Canadian Legion #236 Water System. Thompson, Cariboo, Shuswap | Unapproved Water Supply System or Construction Works
Wet’suwet’en First Nation | Do Not Consume | 2012-03-13 | Yes | DNC – Palling Community Water System. Source: FNHA | Operation of system would compromise public health.
Whatshan Lake | Boil Water | 1999-04-01 | Yes | Whatshan Lake Campground, Whatshan Lake Road, Whatshan Lake BC Area: Okanagan | No reason given.
Williams Lake | Boil Water | 2016-08-19 | Yes | Pine Valley Mobile Home Park. Area: Thompson, Cariboo, Shuswap. | Positive Total Coliform lab result.
Williams Lake | Boil Water | 2015-02-05 | Yes | Comer Hill Mobile Home Park Water System – WQA. Area: Thompson, Cariboo, Shuswap | Inadequate Disinfection / Treatment.
Williams Lake | Boil Water | 2009-06-01 | Yes | Lexington Waterworks. Area: Thompson, Cariboo, Shuswap | Inadequate disinfection/treatment.
Williams Lake | Boil Water | 2008-09-18 | Yes | West Fraser Timber Co. Williams Lake Plywood. Area: Thompson, Cariboo, Shuswap. | No reason given.
Willow River | Boil Water | 2012-03-14 | Yes | Willow River General Store. NHA | Small lots with individual water & onsite sewerage disposal compromising the local aquifer.
Windermere | Boil Water | 2016-08-11 | Yes | Shadybrook Resort Water System. BWN Limited to the population served by the east well (100 sites). Area: Kootenays | Positive Total Coliform result.
Windermere | Boil Water | 2006-07-28 | Yes | Windermere Holdings. Area: Kootenays | Inadequate Disinfection/treatment
Windermere | Boil Water | 1991-05-01 | Yes | Calberley Beach Water System. Area: Kootenays | Positive E. Coli lab result.
Winfield | Boil Water | 1998-03-31 | Yes | Dee Lake Resort Ltd. Water System. Area: Okanagan | Inadequate Disinfection / Treatment
Woodbury | Boil Water | 2018-01-11 | Yes | The Regional District of Central Kootenay (RDCK) has downgraded the Boil Water Notice issued in June 2017 to a Water Quality Advisory. Test results have indicated that the water quality has improved and is free of any presence of Coliform Bacteria. Although health risks with a Water Quality Advisory are considered low, staff recommend that children, the elderly, people with weakened immune systems and anyone seeking additional protection drink boiled water or a safe alternative until further notice. | Test results have indicated that the water quality has improved and is free of any presence of Coliform Bacteria.
Xeni Gwet’in First Nation | Boil Water | 2001-10-18 | Yes | BWA – Carrot Creek/James Lulua Community Water System (CWS). Source: FNHA | Significant deterioration in source water quality; Unacceptable microbiological quality; Operation of system would compromise public health.
Xeni Gwet’in First Nation | Boil Water | 2001-05-01 | Yes | BWA – Lohbiee Community Water System (CWS) Source: FNHA | Inadequate disinfection or disinfectant residuals; Unacceptable microbiological quality. Operation of system would compromise public health.
Yahk | Boil Water | 2015-10-16 | Yes | 3 Valley RV Water System. Kootenay. | Inadequate Disinfection / Treatment
Yankee Flats | Boil Water | 2012-12-12 | Yes | Yankee Flats Association Water System. Thompson/Cariboo/Shuswap | Source water contamination.