## SK
Municipality | Type | Since | Active? | Details | Reason
Abernethy | Boil Water | 2015-05-01 | Yes | PDWA - Village of Abernethy | Due to possible contamination of source water.
Air Ronge - Besnard Lake | Boil Water | 2016-05-19 | Yes | PDWA, Besnard Lake Lodge | Total Coliforms detected in drinking water.
Air Ronge - Churchill River Voyageur Lodge | Boil Water | 2011-06-24 | Yes | Upgraded to EBWO from PDWA, Churchill River Voyageur Lodge - Water Supply 15570 | E. coli presence in drinking water system.
Allan | Boil Water | 2018-04-03 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to the Town of Allan | Planned system maintenance.
Antler | Boil Water | 2011-11-17 | Yes | PDWA, Village of Antler | The community no longer has a certified operator in charge of the waterworks facility and recent analysis of the water indicates an exceedance of Trihalomethanes.
Assiniboia - individual | Boil Water | 2017-08-22 | Yes | Camp Woodboia Well | Total coliforms detected in drinking water.
Attons Lake Regional Park | Boil Water | 2017-05-01 | Yes | PDWA, Applies to residents and users located in the Attons Lake Regional Park | Seasonal system startup
Battlefords Provincial Park | Boil Water | 2017-10-04 | Yes | PDWA, Applies to all residents and users of the Battlefords Provincial Park Waterworks | Lack of minimum disinfection
Beauval | Boil Water | 2018-02-16 | Yes | PDWA, Affects Smith Avenue from Buffin Place to Lavoie Street: Lavoie Street including clinic. | Water line repair/depressurization
Big Island Lake Cree Nation | Boil Water | 2013-08-20 | Yes | Big Island Lake Public Water System, affects 148 houses and all public buildings. Source: Health Canada | No reason given.
Big River - Individual | Boil Water | 2009-07-14 | Yes | EBWO, La Fleur Outdoor Adventures | Presence of E. coli
Big River - munic. | Boil Water | 2018-02-26 | Yes | CORRECTION: This advisory is still in effect. Precautionary Drinking Water Advisory (PDWA). This Advisory applies to users of portions of the Town of Big River water distribution system until further notice: 103-201 7th Avenue South, 611 Main Street, 101-123 6th Ave South, 509 Main St., 507-519 Gallant St. | Depressurization of a portion of the water main to facilitate water main repairs.
Birch Hills | Boil Water | 2018-03-08 | Yes | Precautionary Drinking Water Advisory (PDWA). Users on 200 Block of Simpson Avenue. | Depressurization needed for maintenance.
Birch Hills | Boil Water | 2018-03-15 | Yes | PDWA issued to residents of Wilson Street between Eede and McCallum Avenues plus First and Second Streets West and Eede and Johnson Avenues. | Water main break causing depressurization of a portion of the distribution system.
Birdsay - Individual | Boil Water | 2017-05-26 | Yes | PDWA, Hitchcock Hideaway Well | Does not meet minimum treatment/design requirements
Birsay | Boil Water | 2012-05-25 | Yes | Camp Can-Ta-Ka-Ye Girl Guide Camp | Unacceptable turbidity or particle counts in treated water
Black Bear Island Lodge | Boil Water | 2014-06-14 | Yes | EBWO | E. coli detected in drinking water system
Black Lake First Nation | Boil Water | 2013-04-19 | Yes | Black Lake Public Water System. Affects 1001-5000 people. Source: Health Canada | No reason given
Blackstrap Provincial Park | Boil Water | 2017-10-19 | Yes | PDWA, Applies to all residents and users of the Blackstrap Provincial Park Distribution. | Due to chlorine levels that are below the regulatory limit in the distribution system.
Boggy Creek | Boil Water | 2016-10-20 | Yes | PDWA, Applies to all residents and users of the Boggy Creek Water Utility Corp Potable Distribution System. | System does not meet minimum treatment requirements
Boggy Creek Wellfield | Boil Water | 2006-07-24 | Yes | PDWA, Boggy Creek Wellfield - two specific rural customers outside Regina | Well operation
Brokenshell - individual | Boil Water | 2017-08-03 | Yes | PDWA, Weis-Moore Meats Well | Total coliforms detected in drinking water system.
Buchanan | Boil Water | 2011-03-25 | Yes | PDWA for R.M. of Buchanan Well No. 4. | Total coliforms detected in drinking water system.
Buchanan | Boil Water | 2010-06-16 | Yes | EBWO for Rural Municipality of Buchanan No. 304 - Well (NE 33-33-5 W2) [13624] | E. coli
Buchanan | Boil Water | 2008-05-08 | Yes | PDWA for R.M. of Buchanan Well No. 1. | Total coliforms detected in drinking water system.
Buena Vista | Boil Water | 2018-03-19 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to all residents and users of the Village of Buena Vista Treated water supply. Issued by Water Security Agency. | System maintenance
Buffalo Narrows | Boil Water | 2015-06-15 | Yes | EBWO, Eyehill Creek Outfitters | E. coli in drinking water
Buffalo Narrows | Boil Water | 2015-06-15 | Yes | EBWO, Holt Lake Lodge Adventures | Insufficient treatment and residuals, E. coli detected in drinking water.
Buffalo Pound Provincial Park | Boil Water | 2016-10-02 | Yes | PDWA | Low chlorine residuals in the distribution system.
Burbridge Lake Lodge Ltd. | Boil Water | 2014-07-08 | Yes | PDWA, Burbridge Lake Lodge Ltd. | Total coliforms detected in drinking water.
Burstall | Boil Water | 2018-03-26 | Yes | PDWA expanded and applies to residents on the south side of the 400 and 700 Blocks of Pacific Dr, the 100 Block of McNab St., 400 and 800 Blocks of Dome Cres., 1400 Block of Eastview Place, 1500 and 1800 Blocks of Eastview St., and 1700-1900 Block of Eastview Ave. | Line break or pressure loss in distribution system.
Burstall | Boil Water | 2018-03-21 | Yes | Precautionary Drinking Water Advisory (PDWA) Pacific Drive | Line break or pressure loss in distribution system.
Camp Kinisoo - La Ronge | Boil Water | 2012-06-08 | Yes | PDWA, Camp Kinisoo (1976) Ltd. | Operational: Inadequate disinfection residual in distribution system. Total coliforms detected in drinking water system.
Cando | Boil Water | 2017-03-10 | Yes | PDWA, Cando School Well | Total coliforms detected in drinking water system.
Cando | Boil Water | 2014-07-09 | Yes | EBWO - Cando Memorial Hall Well | E. coli detected in drinking water system
Canwood | Boil Water | 2018-03-22 | Yes | Precautionary Drinking Water Advisory (PDWA) applies to the following portion of the Village of Canwood: Main St south of First Ave; one block of Railway Ave, west of Main St; all of South Ave and one block of First St West, west of South Ave. | Water main break
Carswell Lake - Lone Wolf Camps | Boil Water | 2007-06-25 | Yes | EBWO, Lone Wolf Camps | Positive E. coli result.
Cheemo Lodge | Boil Water | 2014-07-15 | Yes | EBWO | E. coli detected in drinking water system
Christopher Lake – individual | Boil Water | 2017-11-21 | Yes | PDWA – Garden River Outfitting. | Does not meet monitoring requirements.
Christopher Lake - individual | Boil Water | 2009-06-06 | Yes | EBWO, Thunder Mountain Outfitting | E. coli
Churchill River Wilderness Camp | Boil Water | 2011-06-24 | Yes | EBWO, Churchill River Wilderness Camp Public Water Supply 14673 | E. coli
Clearwater River First Nation | Boil Water | 2006-04-24 | Yes | The Landing Public Water System, affects 0-100 people. Source: Indian and Northern Affairs Canada | No reason given
Coppersands | Boil Water | 2016-01-24 | Yes | PDWA, All users of Copper Sands Mobile Home Park waterworks. | System depressurization
Cottonwood Rural Pipeline | Boil Water | 2013-12-30 | Yes | PDWA, Applies to all residents and users of the Cottonwood Water Users Rural Pipeline. | Seasonal low disinfection levels (chlorine).
Cowessess First Nation | Boil Water | 2017-02-15 | Yes | Marieval (lower subdivision) Public Water System, affects 101-500 people. Source: Health Canada | No reason given.
Craik | Boil Water | 2015-07-30 | Yes | Updated from 2010, PDWA | Due to extreme elevation of turbidity.
Cree Lake - Crystal Lake Lodge | Boil Water | 2010-06-28 | Yes | EBWO - Crystal Lodge Ltd. Ispatamow Island, Cree Lake - existing PDWA amended to EBWO | No reason given.
Cree Lake | Boil Water | 2010-07-02 | Yes | PDWA Cree Lake Lodge 2009 Ltd. PW#15708 | No reason given.
Cree Lake | Boil Water | 2017-07-17 | Yes | EBWO, Cree River Lodge | Due to E. coli.
Creelman | Boil Water | 2017-02-13 | Yes | PDWA, Applies to all residents and users of the Village of Creelman | Elevated turbidity from the filtration system.
Creighton - Slims Cabins | Boil Water | 2017-06-22 | Yes | Slims Cabins - Cameron Point | Due to total coliforms.
Creighton - Slims Cabins | Boil Water | 2016-06-20 | Yes | Slims Cabins – Laurie Lake | Due to total coliforms.
Creighton - Slims Cabins | Boil Water | 2011-06-10 | Yes | Slims Cabins - Kipahigan Lake | Due to total coliforms.
Creighton - Slims Cabins | Boil Water | 2007-06-25 | Yes | Slims Cabins - Scotties Beach | Due to E. coli.
Creighton - Slims Cabins | Boil Water | 2011-06-20 | Yes | Slims Cabins - Tomahawk | Due to E. coli.
Creighton - Slims Cabins | Boil Water | 2011-06-20 | Yes | Slims Cabins - Kamuchawie Lake | Due to detection of total coliforms.
Dalmeny | Boil Water | 2017-10-24 | Yes | PDWA, Affecting a portion of Dalmeny | Due to low chlorine levels in the distribution system.
Darsana - Angler Train Resort | Boil Water | 2009-06-23 | Yes | PDWA Water System #22007 | Due to the presence of coliforms.
Deception Lake | Boil Water | 2007-06-05 | Yes | PDWA, Deception Lake Lodge - Public Water Supply 15772. | Due to poor bacteriological results.
Dubuc | Boil Water | 2018-03-27 | Yes | Precautionary Drinking Water Advisory (PDWA) issued in the Village of Dubuc. | Equipment malfunction resulting in untreated water entering the reservoir.
Dundurn Rural | Boil Water | 2017-10-19 | Yes | PDWA, Applies to all residents and users of the Dundurn Rural Water Utility Phase Three Pipeline System (Blackstrap Provincial Park extension line only). | Due to chlorine levels that are below the regulatory limit in the distribution system.
Dyer Straits Campground | Boil Water | 2015-09-05 | Yes | EBWO downgraded to PDWA, Dyer Straits Campground-Cabins | Total coliforms detected in drinking water system.
Edenwold | Boil Water | 2018-03-13 | Yes | Precautionary Drinking Water Advisory (PDWA). This Advisory applies to all residents and users of the Village of Edenwold distribution system. | Due to a power outage.
Elaine Lake | Boil Water | 2013-06-14 | Yes | Elaine Lake Outfitters - Non-commissioned plant | Total coliforms detected in drinking water system.
Elstow North Rural Water Utility | Boil Water | 2017-09-18 | Yes | PDWA, Applies to all residents and users of the Elstow North Rural Water Utility Distribution System. | Due to chlorine levels that are below the regulatory limit in the distribution system.
Elstow North Rural Water Utility | Boil Water | 2015-09-17 | Yes | PDWA, All residents and users in the Elstow North Rural Water Utility | Due to chlorine levels that are below the regulatory limit in the distribution system.
Engler Lake | Boil Water | 2007-07-05 | Yes | Emergency Boil Water Advisory for Athabasca Camps Inc., Engler Lake. Athabasca Fishing Lodges Public Water Supply - #15232. | Due to the presence of total coliform and E. Coli.
Errington Lake Outfitters | Boil Water | 2014-06-28 | Yes | PDWA, Errington Lake Outfitters. | Total coliforms detected in drinking water system.
Eston Regional Park | Boil Water | 2012-05-25 | Yes | EBWO, Eston Regional Park | E. coli detected in drinking water system.
Eye Hill Creek Outfitters | Boil Water | 2015-06-15 | Yes | EBWO, Eye Hill Creek Outfitters Well. | E. coli detected in drinking water system.
Fenwood | Boil Water | 2011-09-29 | Yes | PDWA, Village of Fenwood | Due to turbidity at the water treatment plant and chlorine levels not meeting the regulatory standards throughout the distribution system.
Fiske | Boil Water | 2017-01-16 | Yes | PDWA, Fiske Bar and Grill | Due to lack of treatment. Suspected contamination.
Fond du Lac Denesuline First Nation | Boil Water | 2017-07-16 | Yes | Affects 1001-5000 people. Source: Health Canada. | No reason given.
Fond du Lac River | Boil Water | 2007-07-01 | Yes | EBWO, Pilots Lodge | Due to E. coli.
Fort Qu’Appelle | Boil Water | 2017-11-08 | Yes | Precautionary Drinking Water Advisory (PDWA) Valley Alliance Church Well | Total coliforms detected in drinking water system.
Fort Qu'Appelle - individual | Boil Water | 2017-06-23 | Yes | PDWA, Valley Alliance Church Well | Total coliforms detected in drinking water system.
Foster Lake | Boil Water | 2007-06-25 | Yes | PDWA, Phil Foster Wilderness Fishing | Due to poor bacteriological results. Total coliforms detected in drinking water system.
Foster Lake | Boil Water | 2013-06-15 | Yes | EBWO, Brunanskys Foster Lake Lodge | E. coli detected in drinking water.
Foster River Camps | Boil Water | 2009-06-20 | Yes | EBWO for Foster River Camps | Due to E. coli.
Garrick | Boil Water | 2018-03-12 | Yes | Precautionary Drinking Water Advisory (PDWA) for users of the Garrick distribution system. | Higher than normal turbidity levels.
George Lake Camp | Boil Water | 2006-06-12 | Yes | EBWO, Public Water Supply #15654 | Due to the presence of E. Coli.
Gladmar - Special Services Area | Boil Water | 2017-02-28 | Yes | PDWA, Applies to users of the Special Services Area of the Gladmar distribution system. | Due to the treatment system failing to meet turbidity requirements caused by filter malfunctions.
Glen Ewen - individual | Boil Water | 2016-12-16 | Yes | PDWA for Fitzpatrick Farm well | Due to high risk well.
Good Spirit Provincial Park | Boil Water | 2017-05-03 | Yes | PDWA, Users of the park water system | Due to seasonal start-up.
Goodeve | Boil Water | 2018-03-16 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to users and residents of the Village of Goodeve. | Due to a primary disinfection not being achieved.
Goodeve | Boil Water | 2017-03-16 | Yes | Precautionary Drinking Water Advisory (PDWA) all users of the Goodeve waterworks. | Due to a primary disinfection problem
Govan | Boil Water | 2018-03-28 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to the Town of Govan. | Potential reservoir contamination.
Gow Lake - Northern Reflection Lodge | Boil Water | 2010-06-22 | Yes | PDWA for Northern Reflection Lodge | Due to total coliforms.
Grandview Beach | Boil Water | 2017-10-02 | Yes | PDWA, Applies to all residents and users of the Resort Village of Grandview Beach Central | Due to seasonal low chlorine residuals and not performing daily testing.
Grass Lake #381 | Boil Water | 2012-01-27 | Yes | Jims Meats | No or inadequate disinfection at the treatment plant. Total coliform detected.
Gronlid | Boil Water | 2017-12-22 | Yes | Emergency Boil Water Notice. To all residents of the Organized Hamlet of Gronlid, SK. Water from the Organized Hamlet of Gronlid, SK distribution system should be boiled, at a rolling boil, for at least one minute before using to ensure bacteriological safety. This Emergency Boil Water Notice also applied to any water which may enter a person’s mouth, such as water used for tooth brushing, soaking false teeth and water put into food or drinking which will not be subsequently heated. Since harmful bacteria may survive freezing, ice cubes should also be made from previously boiled water. | Presence of E. coli in the drinking water.
Hanley – munic. | Boil Water | 2017-11-21 | Yes | Precautionary Drinking Water Advisory (PDWA). | Due to inadequate disinfection levels.
Hanley – munic. | Boil Water | 2017-03-13 | Yes | Precautionary Drinking Water Advisory (PDWA). | New system start-up
Haskins Bay Fly-in | Boil Water | 2011-06-17 | Yes | PDWA, Hasking Bay Lodge | Total coliforms detected in drinking water.
Hazlet | Boil Water | 2010-12-07 | Yes | PDWA, all users of the Village of Hazlet | Elevated turbidity
Hepburn Lake Lodge | Boil Water | 2013-06-21 | Yes | EBWO | Issued due to the presence of E. coli in drinking water.
Highrock Lake | Boil Water | 2016-06-17 | Yes | PDWA, High Rock Lake Lodge | Total coliforms detected in drinking water system.
Hubbard | Boil Water | 2016-01-18 | Yes | PDWA, All residents and users of Hubbard waterworks. | Due to an equipment failure in the Village Water Treatment Plant.
Iskwatikan Lake Lodge | Boil Water | 2014-06-07 | Yes | PDWA, Iskwatikan Lake Lodge | Total coliforms detected in drinking water system.
Jan Lake | Boil Water | 2011-09-02 | Yes | EBWO, Jan Lake Convenience Store. | E. coli detected in drinking water system.
Johnson River Camp | Boil Water | 2009-06-07 | Yes | EBWO, Johnson River Camp | Issued due to the presence of contaminants.
Keller Lake - True North Lodge | Boil Water | 2008-06-20 | Yes | Premise 17361, Keller Lake, EBWO | Issued due to the presence of E. Coli.
Kennedy - individual | Boil Water | 2013-09-23 | Yes | PDWA - Kennedy Hotel | Total coliforms detected in drinking water system.
Keystown | Boil Water | 2018-01-31 | Yes | PDWA – All residents and users of the Hamlet of Keystown Rural Pipeline. | Due to seasonal low disinfection levels (chlorine)
Kincaid | Boil Water | 2018-03-25 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to all residents in the Village of Kincaid. | Due to line break or pressure loss in distribution system.
Kississing Camps | Boil Water | 2015-06-06 | Yes | EBWO - Kississing Camps - Phelan Lake | E. coli detected in drinking water.
La Loche | Boil Water | 2018-04-02 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to a portion of La Loche. | Planned system maintenance.
La Ronge - Drinking Falls Lodge | Boil Water | 2010-06-24 | Yes | EBWO issued for Drinking Falls Lodge | Inadequate Disinfection
La Ronge - Sportsmans Lodge | Boil Water | 2017-06-27 | Yes | PDWA, Sportman's Lodge | E. coli detected in drinking water system.
La Ronge - Stockmans Lodge | Boil Water | 2017-06-28 | Yes | PDWA, Stockman's Lodge | Total coliforms detected in drinking water system.
La Ronge Airport | Do Not Consume | 2018-02-13 | Yes | Do not consume advisory for the La Ronge Airport. | Due to high levels of chemicals – PFOA and PFOS.
Lac La Ronge | Boil Water | 2017-06-14 | Yes | PDWA - Hunters Bay Lodge | Total coliforms detected in drinking water system.
Lac La Ronge | Boil Water | 2014-08-24 | Yes | PDWA - Cornhusker Fishing Camp | Total coliforms detected in drinking water system.
Lac La Ronge Indian Band – Grandmothers Bay | Boil Water | 2017-11-10 | Yes | Grandmother’s Bay No. 219. Affects 101-500 people. Source: Health Canada | No reason given
Lake Athabasca - Jug Bay Sport Fishing | Boil Water | 2010-07-30 | Yes | EBWO for Jug Bay Sport Fishing | Due to E. coli.
Lake Athabasca Lodge | Boil Water | 2006-06-26 | Yes | Lake Athabasca Lodge, EBWO | Issued due to the presence of E. coli.
Lampman | Boil Water | 2018-03-15 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to the Town of Lampman. | Line break or pressure loss in distribution.
Langenburg | Boil Water | 2018-04-02 | Yes | Precautionary Drinking Water Advisory (PDWA). Town of Langenburg (Portion Only). Effective April 2nd, 4:30 p.m. | Line break or pressure loss in distribution system.
Laonil Lake - Seebee Gold Mine | Do Not Consume | 2017-10-30 | Yes | PDWA, Do Not Drink Notice. This Advisory applies to all users of the Seebee Gold Operations Santoy potable water supply. | DO NOT DRINK NOTICE is issued due to the treated water containing cyclotella algae and possibly affecting filtration.
Lashburn - Triveet Lake Lodge | Boil Water | 2017-06-16 | Yes | Triveet Lake Lodge - EBWO | Issued due to the presence of E. coli
Lloydminster | Boil Water | 2017-05-27 | Yes | Boil Water Advisory issued at Border City Petting Zoo. Prairie North Regional Health Authority. | Due to the presence of Total coliforms detected in drinking water system.
Luseland Campground | Boil Water | 2010-07-02 | Yes | Luseland Campground (Town of Luseland & RM of Progress #351) | PDWA issued due to a positive water sample of greater than 100 coliforms.
Macoun Lake | Boil Water | 2014-06-11 | Yes | PDWA - Macoun Lake Island Lodge. | Total coliforms detected in drinking water system.
MacPherson Lake Lodge | Boil Water | 2006-06-06 | Yes | Water Supply #14986 (GPS:N56.50239 - W105.25637) | EBWO - issued due to the presence of E. coli.
Mainprize Regional Park | Boil Water | 2017-01-12 | Yes | Precautionary Drinking Water Advisory. This Advisory applies to all residents and users of the Mainprize Regional Park distribution system. Effective January 12 at 3:00 p.m. | Due to maintenance causing depressurization.
Mankota | Boil Water | 2018-01-24 | Yes | Precautionary Drinking Water Advisory (PDWA). This Advisory applies to the Village of Mankota. | Due to system upgrades causing a Turbidity Standard Exceedance.
Marchwell | Boil Water | 2014-04-17 | Yes | Emergency Boil Water Order (EBWO) – Duck Pond Guest House. | E. coli detected in drinking water
Margo | Boil Water | 2018-03-26 | Yes | Precautionary Drinking Water Advisory (PDWA) issued in the affected area of Eva St and 2nd Ave. | Due to planned system maintenance resulting from line break or pressure loss in distribution system.
Markinch | Boil Water | 2013-09-06 | Yes | PDWA - All users of Village of Markinch water system | The water supply for the Village of Markinch is a shallow well that may be at a higher risk of contamination from surface activity than a typical deep drilled well. Even though Markinch water quality tests have not identified any recent water quality concerns, the risk exists to the source water to be contaminated and the current treatment capabilities will not be able to ensure safe drinking water.
Meadowlark Estates | Boil Water | 2017-01-11 | Yes | PDWA. All residents and users of the Meadowlark Estates Distribution System. | Amended due to low chlorine levels in the distribution system.
Medstead | Boil Water | 2018-01-28 | Yes | Precautionary Drinking Water Advisory (PDWA). This Advisory applies to all residents and users in the Village of Medstead. Issued by Water Security Agency. | Due to turbidity levels above the regulatory limit.
Medstead | Boil Water | 2018-03-19 | Yes | Precautionary Drinking Water Advisory (PDWA). Issued by Water Security Agency. | Due to depressurization caused by line repair.
Melville Beach | Boil Water | 2012-07-04 | Yes | EBWO - Melville Beach Community Well. | E. Coli detected in drinking water.
Michel Village | Boil Water | 2018-02-14 | Yes | Precautionary drinking water advisory (PDWA). All users of the Northern Village of Michel waterworks. | Due to a watermain break and depressurization.
Milton Lake Lodge | Boil Water | 2006-06-27 | Yes | EBWO | Due to the presence of E. Coli.
Miksaw Lake Lodge | Boil Water | 2016-06-25 | Yes | Emergency Boil Water Order. Misaw Lake Lodge. | E. coli detected in drinking water.
Missi Lake Lodge | Boil Water | 2015-06-12 | Yes | PDWA - Missi Lake Lodge | Total coliforms detected in drinking water system.
Montreal Lake | Boil Water | 2018-03-12 | Yes | Boil Water Advisory issued to Montreal Lake Cree Nation and Lac La Ronge Indian Band. Short term. Issued by Health Canada. | Reason not specified.
Moose Jaw – individual | Boil Water | 2018-04-02 | Yes | Boil Water Advisory (BWA) issued to certain residences in Moose Jaw. | Due to major water main break. The water main break occurred at the intersection of 11th Avenue NW and Grace St. on Sunday morning (April 1), and involves a main feeder line.
Moose Jaw – individual | Boil Water | 2018-01-05 | Yes | PDWA - All users of the Eight Mile Pipeline. | Due to seasonal low chlorine residuals throughout the water distribution system.
Moose Jaw – individual | Boil Water | 2014-11-24 | Yes | PDWA – All users of 9th Avenue Viaduct Co-operative Ltd. Distributed water. | Due to low chlorine residuals in the water distribution system.
Moose Jaw – individual | Boil Water | 2014-11-05 | Yes | PDWA – All users of Mount Pleasant Water Pipeline Corp. distributed water. | Due to seasonal low chlorine residuals throughout the water distribution system.
Moose Jaw – individual | Boil Water | 2009-10-08 | Yes | North Valley Water Line Co-op. | Low chlorine residuals.
Moose Jaw – individual | Boil Water | 2005-11-30 | Yes | Caribou South Water Co-op. | Low chlorine residuals.
Moose Jaw – individual | Boil Water | 2005-11-30 | Yes | Highway #1 West Water Co-op. | Low chlorine residuals.
Moosomin – munic. | Boil Water | 2018-04-03 | Yes | Precautionary Drinking Water Advisory (PDWA) expanded and applies to all residents and users located within the effected locations including 500 & 600 Blocks of Ellice Street, 700 block of Broadway Ave, 174 Pentland Street, 204 to 900 Blocks of Park Ave, 606 to 616 Birtle Street, 702 to 710 North Front Street and HWY 8 North. | Due to a water main swabbing event which may result in elevated turbidity and chlorine residual which may not meet provincial requirements.
Morning Lake Outfitters | Boil Water | 2007-06-14 | Yes | EBWO for Morning Lake Outfitters. | Due to E. coli.
Neimei Lake | Boil Water | 2016-06-17 | Yes | EBWO, Kississing Camps | Presence of E. coli in drinking water
Nekaneet First Nation | Boil Water | 2017-10-26 | Yes | Nekaneet-Upper Camp Public Water system. Affects 0-100 people. | No reason given.
Nemeiben Lake | Boil Water | 2013-07-04 | Yes | PDWA Nemeiben Lake Canoe and Bible Camp | Total coliforms detected in drinking water
Pangman | Boil Water | 2018-03-28 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to the Town of Pangman. | Due to line break or pressure loss in distribution system.
Paradise Hill | Boil Water | 2018-03-19 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to residents and users on 7th and 8th Avenue in the Village of Paradise Hill. Issued by Water Security Agency. | Due to depressurization required for a water main valve replacement.
Paull River Wilderness Camp | Boil Water | 2009-06-17 | Yes | EBWO – Paull River Wilderness camp. | E. coli detected in drinking water.
Pawistik Lodge | Boil Water | 2014-07-12 | Yes | PDWA re-issued, Pawistik Lodge | Total coliforms detected in drinking water – Insufficient treatment
Peepeekisis First Nation | Boil Water | 2015-02-05 | Yes | Peepeekis Main Public Water System. Source: Health Canada. | No reason given
Peepeekisis First Nation | Boil Water | 2013-04-10 | Yes | Poitras Well, BWA. Source: Health Canada. | No reason given
Pelican Narrows | Boil Water | 2016-07-18 | Yes | Silence of the North Hunting and Fishing. | Total coliforms detected in drinking water system.
Pickerel Bay | Boil Water | 2010-06-11 | Yes | EBWO for Pickerel Bay Cabins Ltd. | E. coli
Pike Lake Provincial Park | Boil Water | 2017-09-15 | Yes | Precautionary Drinking Water Advisory (PDWA) issued at Pike Lake Prov Park Admin Bldg. | Due to no or inadequate disinfection at the treatment plant.
Pine Point Lodge & Outpost | Boil Water | 2007-06-08 | Yes | PDWA issued for Pine Point Lodge & Outpost | Poor bacteriological results.
Pinehouse Lake -Kamkota Lodge | Boil Water | 2008-05-31 | Yes | EBWO, Public Water Supply #12726 | Presence of E. coli
Pipestone Lake Fishing Lodge Inc. | Boil Water | 2007-06-25 | Yes | PDWA, Pipestone Lake Fishing Lodge Inc., Spring Lake | Poor bacteriological results.
Plunkett | Boil Water | 2017-05-18 | Yes | PDWA, All users of the Plunkett water works | Due to elevated turbidity.
Pointer Lake | Boil Water | 2010-06-04 | Yes | PDWA for Pointer Lake Lodge | Total coliforms
Porcupine Plain | Boil Water | 2007-07-04 | Yes | PDWA, Hawrock Wilderness Adventures | Total coliforms
Preeceville | Boil Water | 2009-06-15 | Yes | PDWA, Lady Lake Regional Park Well, RM of Preeceville | Presence of bacteria.
Prill Lake Lodge | Boil Water | 2008-06-13 | Yes | PDWA, Prill Lake Lodge, Premise 15899, Long/Lat: 58.0076/108.685 | Presence of coliform bacteria.
Prince Albert – Individual | Boil Water | 2018-01-09 | Yes | PDWA Carlton Apartments: 1225 - 28th Street East, Prince Albert. | Due to line break/depressurization.
Prince Albert – Individual | Boil Water | 2007-06-08 | Yes | PDWA, V. J. Fishing | Presence of total coliforms
Punnichy | Boil Water | 2018-04-02 | Yes | Precautionary Drinking Water Advisory. | Due to power outage resulting in system pressure loss or reduced storage of treated water. Line break or pressure loss in distribution system.
Readlyn | Boil Water | 2009-07-30 | Yes | PDWA | Inability to meet minimum chlorine residuals, lack of automatic disinfection equipment, and potential for contamination of source water due to deteriorated well house.
Redthorpe Utility Board Water Pipeline | Boil Water | 2010-02-08 | Yes | PDWA | Low disinfectant levels in the waterworks distribution system.
Redvers | Boil Water | 2006-02-21 | Yes | Redvers PDWA, only affects the following users supplied by Redvers: Couture Motors, Real Wolensky, Prosper Tractor Ltd., Redvers Co-op Associated Ltd., Bulk Fuel). | Town has advised it is unable to maintain chlorine levels at regulatory requirements.
Regina | Boil Water | 2018-03-09 | Yes | Sun Dale Recreation. | System not operating as designed.
Regina | Boil Water | 2017-10-13 | Yes | PDWA, Prairie Properties Ltd. Well | Total coliforms detected in drinking water system.
Regina | Boil Water | 2017-09-20 | Yes | Boil Water Advisory issued at Perry Approved Private Care Home. | Due to Total coliforms detected in drinking water system.
Regina | Boil Water | 2014-12-04 | Yes | PDWA – CSW Water Club | Low disinfection levels due to low seasonal usage.
Regina Beach | Boil Water | 2018-03-09 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to residents & users on 300 block of 5th Street East, in Town of Regina Beach. | Advisory issued due to water main break.
Regina Pioneer Village | Do Not Consume | 2018-02-04 | Yes | The Saskatchewan Health Authority issued a Do Not Consume Drinking Water advisory for Regina Pioneer Village on Sunday. Drinking the water is not advised, but water is safe for washing hands, bathing and laundering. | The advisory is a precautionary measure resulting from unplanned maintenance to the plumbing system.
Regina South | Boil Water | 2006-11-06 | Yes | PDWA, Regina South Public Utility -Revised | Due to low chlorine residuals on the pipeline.
Reindeer Lake | Boil Water | 2017-06-02 | Yes | PDWA, Reindeer Lake Lodge | Total coliforms detected in drinking water system.
Reindeer Lake | Boil Water | 2008-07-19 | Yes | EBWO, Tate Island Lodge | E. coli
Roche Percee | Boil Water | 2012-07-20 | Yes | PDWA – All residents and users of the Roche Percee waterworks and is effective and reissued Friday July 20, 2012. PDWA – High Turbidity – May 11, 2011. | Turbidity readings consistently greater than 1.0 NTU and to ensure the flushing of the water system did not have an adverse impact.
Rolling Hills Pipeline Co-op | Boil Water | 2017-08-01 | Yes | PDWA – Rolling Hills Water Pipeline Coop. | Total coliforms detected in drinking water system.
Rolling Hills Waterline Co-Operative | Boil Water | 2017-08-01 | Yes | EBWO, Rolling Hills Waterline Co-Operative | E. coli detected in drinking water system
Rosthern – Wingeiers Sausage | Boil Water | 2017-04-05 | Yes | EBWO, Wingeier’s Swiss and German Style Sausage. | E. coli detected in drinking water system
Rosthern – Seager Wheeler Farm | Boil Water | 2016-07-28 | Yes | PDWA, Seager Wheeler Farm | Total coliforms detected in water
Rowans Ravine Provincial Park | Boil Water | 2017-10-02 | Yes | PDWA, Applies to all residents and users of the Rowans Ravine Provincial Park Distribution System. | Seasonal operation.
Saskatoon – individual | Boil Water | 2017-03-07 | Yes | Saskatoon Livestock Sales, PDWA | Unacceptable turbidity or particle counts in treated water
Saskatoon – Water Lines | Boil Water | 2017-11-07 | Yes | PDWA, SaskWater Saskatoon East and West Raw Water Lines. - May 15, 2008 | The water treatment process is inadequate to ensure hygienic or potable water use.
Saskatoon | Boil Water | 2018-02-16 | Yes | Precautionary Drinking Water Advisory issued at Vinnicombe Care Home. | Due to inadequate disinfection residual in distribution system.
Saskatoon | Boil Water | 2018-01-10 | Yes | Precautionary drinking water advisory (Do Not Use Notice). Applied to all residents and users located on ASPEN RIDGE SUBDIVISION Bolstad Turn, Link, Manor and Way ONLY. | Do Not Use Notice is issued due to the water possibly being contaminated with a hydrocarbon.
Sceptre | Boil Water | 2018-04-03 | Yes | Precautionary Drinking Water Advisory applies to users on Kingsway Street in the Village of Sceptre. | Does not meet minimum treatment/design requirements.
Scott Lake Lodge Ltd. | Boil Water | 2010-07-13 | Yes | Public Water Supply #15144, EBWO | Presence of contaminants, namely coliforms and E. coli
Shell Lake – Norseman Outfitters | Boil Water | 2011-04-21 | Yes | Norseman Outfitting EBWO | E. coli
Shell River | Boil Water | 2017-09-28 | Yes | EBWO issued at Spruce River Campground. | Due to E. coli detected in drinking water system.
Sherwood Forest – Speedway | Boil Water | 2013-05-24 | Yes | PDWA, Kings Park Speedway Well | Total Coliforms detected in drinking water. Undetermined source of contamination.
Silton | Boil Water | 2013-06-05 | Yes | PDWA, Village of Silton | Unacceptable turbidity or particle counts in treated water
Sliding Hills | Boil Water | 2010-10-07 | Yes | EBWO issued to R.M. #273, Sliding Hills Community Well#1 (Donwell) | Detection of E. coli
Sliding Hills | Boil Water | 2007-07-13 | Yes | PDWA, RM of Sliding Hills No. 273, Well No. 4 (Petriw Well). | Due to high nitrate levels.
South Bay Outfitters -Weyakwin | Boil Water | 2014-06-05 | Yes | EBWO – South Bay Outfitters | E. coli detected in drinking water system
South Bay Outfitters -Weyakwin | Boil Water | 2010-08-09 | Yes | EBWO issued for South Bay Outfitters Ltd. [15672] | Due to E. coli.
Spalding | Boil Water | 2018-01-14 | Yes | Precautionary Drinking Water Advisory (PDWA). This Advisory applies to residents and users in the Village of Spalding on 2nd Street South between 1st and 2nd Ave. only). | Due to a water main break/repair.
Spring Bay Lodge | Boil Water | 2013-07-29 | Yes | EBWO for Lakers Unlimited Inc. - Spring Bay Lodge | Due to E. coli.
Springside – Bible Camp | Boil Water | 2008-07-15 | Yes | Good Spirit Bible Camp, PDWA | Due to lack of water sampling.
Spruce Home -Simpson’s Sportsman Lodge | Boil Water | 2017-05-03 | Yes | EBWO, Simpson’s Sportsman Lodge | E. coli detected in drinking water system
St. Walburg | Boil Water | 2018-03-25 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to residents in the affected areas of 3rd St. East from Hwy 26 to 4th St. East, and 4th St. East to 2nd Ave. East in the town of St. Walburg. | Due to line break or pressure loss in distribution system.
Star Blanket Reserve 83 | Boil Water | 2007-01-10 | Yes | Star Blanket Public Water System, Affects 101-500 people. Source: Indian and Northern Affairs Canada. | No reason given.
Stony Rapids | Boil Water | 2018-03-28 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to the Town of Stony Rapids. | Due to no or inadequate disinfection at the treatment plant.
Stony Rapids – Ena Lake Lodge | Boil Water | 2007-07-05 | Yes | Public Water Supply #15024, PDWA | Issued due to the presence of total coliform
Strasbourg – Time & Place R.V. Park | Boil Water | 2017-05-10 | Yes | PDWA, Time & Place RV Park | Elevated turbidity following equipment maintenance
Strasbourg Bible Camp | Boil Water | 2016-06-02 | Yes | PDWA, Affects Strasbourg Bible Camp only | Due to a chlorine pump failure
Thompsons Camps -Daly Lake Outpost Camp | Boil Water | 2010-06-16 | Yes | Thompsons Camp – Daly Lake Outpost. EBWO | Issued due to poor bacteriological results. E. coli detected in drinking water system.
Tinkers Camp | Boil Water | 2014-07-21 | Yes | PDWA – Tinkers Camp | Total coliforms detected in drinking water system.
Togo – K & C Meats | Boil Water | 2011-02-15 | Yes | PDWA – K & C Meats – slaughter house – Well [13779] | Does not meet monitoring requirements
Top of the Rock Adventures | Boil Water | 2010-06-17 | Yes | PDWA for Top of the Rock Adventures | Due to total coliforms.
Turtle River | Boil Water | 2017-01-18 | Yes | Do Not Drink – RM of Turtle River No. 469 – North Well | No reason given.
Tuxford | Boil Water | 2018-02-05 | Yes | Precautionary Drinking Water Advisory (PDWA). Village of Tuxford. | Due to System depressurization due to power outage.
Tuxford Rural Pipeline | Boil Water | 2009-07-06 | Yes | Tuxford Rural Water Supply Pipeline. | Due to failure of pipeline operator to submit the required water samples.
Twin Lake Fly-in Ltd. | Boil Water | 2012-06-08 | Yes | Twin Lake Fly-in Ltd. | Total coliforms detected in drinking water system.
Ubiquity Lake Outfitters | Boil Water | 2007-06-25 | Yes | PDWA | Issued due to poor bacteriological results.
Unity | Boil Water | 2018-04-02 | Yes | Town of Unity PDWA (Isolated Area). | Issued due to depressurization caused by line break.
Unity | Boil Water | 2017-05-08 | Yes | PDWA, issued to Unity Golf Club Well | Due to Overgrown Bacteriological Result
Unity – munic. | Boil Water | 2018-02-12 | Yes | Precautionary Drinking Water Advisory (PDWA). Town of Unity PDWA (Isolated Area). | Issued due to depressurization caused by water break.
Val Marie – individual | Boil Water | 2017-11-17 | Yes | PDWA, The Harvest Moon Cafe | E. coli detected in drinking water system.
Vawn | Boil Water | 2018-01-22 | Yes | Precautionary Drinking Water Advisory (PDWA). This Advisory applies to residents and users located in the Hamlet of Vawn (RM of Turtle River). | Due to a valve failure.
Verigin | Boil Water | 2018-03-26 | Yes | Precautionary Drinking Water Advisory (PDWA) issued to residents and users in the Hamlet of Verigin. The affected area includes Railway Ave. | Issued due to planned system maintenance resulting from line break or pressure loss in distribution system.
Vermilion Lake Lodge | Boil Water | 2012-06-08 | Yes | Vermilion Lake Lodge | Total coliforms detected in drinking water system.
Verwood | Boil Water | 2008-08-05 | Yes | Verwood Water Inc. Premise, PDWA | Inability to meet minimum chlorine residuals
Wadena – Blue Willow Inn | Boil Water | 2017-04-07 | Yes | Blue Willow Inn, EBWO | E. coli detected in drinking water system
Wapachewunak | Boil Water | 2018-03-13 | Yes | Boil Water Advisory issued to Wapachewunak Public Water System. Short term. Issued by Health Canada. | Reason not specified.
Waskesiu Lake – Kississing Camps | Boil Water | 2014-06-27 | Yes | PDWA – Kississing Camps | Total coliforms detected in drinking water system.
Waskwei Lake | Boil Water | 2013-06-21 | Yes | Deerhorn Lodge Ltd. - Waskwei Lake Outpost – PDWA | Total coliforms detected in drinking water system.
Weyburn | Boil Water | 2018-03-28 | Yes | PDWA issued to Weyburn Utility Board Waterworks Pipeline. | Due to depressurization. Treatment or distribution equipment failure or damage.
Weyburn – Navau Park | Boil Water | 2014-02-13 | Yes | PDWA issued for Navau Park water system | Non-compliance with sampling requirements.
White Bear First Nation | Boil Water | 2011-09-20 | Yes | White Bear Public Water System. Affects 501-1000 people. Source: indian and Northern Affairs. | No reason given.
White City – Bridlewood Estates | Boil Water | 2016-03-15 | Yes | Bridlewood Estates, PDWA | Lack of a certified operator
Wilton | Boil Water | 2016-10-13 | Yes | PDWA, All users of the RM of Wilton Industrial Subdivision | Low chlorine levels
Wollaston Lake | Boil Water | 2010-06-22 | Yes | PDWA for Minor Bay Lodge & Outpost Ltd. - Spencer Lake Outpost | Total coliforms
Wood Mountain Regional Park | Boil Water | 2011-06-08 | Yes | Wood Mountain Regional Park – Pool Well – PDWA issued on June 8, 2011 | Unacceptable turbidity or particle counts in treated water samples.
Wood River Utility Board | Boil Water | 2018-01-05 | Yes | Precautionary Drinking Water Advisory (PDWA). This Advisory applies to all residents of the Wood River Utility Board; Woodale, Woodale East and Woodale West potable water systems. | Reduced chlorine residuals in the system.
Wroxton | Boil Water | 2018-01-12 | Yes | Precautionary Drinking Water Advisory. This Advisory applied to all residents and users in the Village of Wroxton. | Due to elevated turbidity above the regulatory limit.
Yarbo | Boil Water | 2008-05-07 | Yes | Yarbo, PDWA | Higher than normal turbidity levels
Yorkton – individual | Boil Water | 2011-05-17 | Yes | Golf & Country Club Inc. - Well No. 2 – Amendment – York Lake Golf & Country Club, EBWO replaced by PDWA | No reason given
Zealandia | Boil Water | 2017-04-20 | Yes | PDWA, Town of Zealandia | Elevated turbidity